## Project LCA & TEA
| A TEA+ Model Input-Output table | a Wind Farm EROI, comparing levels of whole system organization, the technology, + the fabricators, + the operators, + the business operation, + the investment for the business
| Scenario |  |  |  |  | EROI & IRR by Business unit scales
#2, 4, 5
| Texas Wind Farm, 50 Turbines of 2MW |  |  |  |  | Annualized EROI & IRR (per kW capacity)
| Duration | 20 |  |  | level | null | LCA | SEA0 | TEA1 | TEA2 | TEA3.0 | TEA3.1 | TEA3.2 (PTC)
| Start year | 2009 |  |  | % of costs | 0% | 0.1093% | 56.33% | 67.06% | 68.45% | 100%
| Land acquisition | lease |  |  | $ costs |  | 0.14796 | 76.2908 | 90.8131 | 92.6984 | 135.4286
| Transmission facilities | n.i.c |  |  | % energy | 0 | 25.11% | 87.96% | 96.94% | 97.89% | 100%
| Turbines | 50 |  |  | E invest | 0 | 90.8905 | 318.311 | 350.8112 | 354.2558 | 361.8984
| Employees | ? |  |  | E Increment |  | 90.8905 | 227.4205 | 123.3908 | 230.865 | 131.0333
| Physical plant | JEDI costs |  |  | E return | 0 | 2817 | 2817 | 2817 | 2817 | 2817
| Whole Business working unit scales |  |  |  | simple EROI |  | 30.9933 | 8.8498 | 8.03 | 7.9519 | 7.784
LCA | LCA for direct & indirect fuel energy (only) of principle technology and construction |  |  |  | IRRe |  | 30.9933 | 8.8498 | 8.03 | 7.9519 | 7.784
SEA0 | plus the businesses making and installing it
TEA1 | plus the field operations running it |  |  | #1, 3
TEA2 | plus the offices, utilities & fees |  |  |  |  | 20 yr Accumulative EROI & IRR (per kW capacity)
TEA3 | plus the rents, investments & taxes |  |  |  | level | null | LCA | SEA0 | TEA1 | TEA2 | TEA3.0 | TEA3.1 | TEA3.2 (PTC)
| Outputs |  |  |  | % of Project $ Costs | 0% | 1.733% | 84.94% | 91.13% | 91.78% | 97.55% | 100% | 99.81%
| Energy Outputs | MWh | $ |  | % energy |  | 14.48% | 50.72% | 55.9% | 56.57% | 62.77% | 100% | 100%
ALL | Output per Turbine / yr | 5634000 |  |  | E invest |  | 3635621.4355 | 12732439.7708 | 14032448.8888 | 14201219.1065 | 15758920.2474 | 25104936.6899 | 25104936.6899
| per kW installed | 2817 |  |  | E return |  | 112680000 | 112680000 | 112680000 | 112680000 | 112680000 | 112680000 | 115327808.0094
| Financial Outputs |  |  |  | Accum EROI |  | 30.9933 | 8.8498 | 8.03 | 7.9345 | 7.1502 | 4.4884 | 4.5938
ALL | Sales |  | 281700 |  | IRRe |  | 155% | 44.22% | 43.71% | 43.64% | 43.03% | 38.67% | 40.68%
| LCOE price |  |  | 100 | Accum $M |  | 0.14796 | 7.2519 | 7.7805 | 7.8355 | 8.3287 | 8.5375 | 8.5215
[5 empty] | LCOE ($/MWh) |  | 2.2896 | 58.2 | 66.3 | 67.1 | 77.7 | 99 | 78.9
| Inputs per kW installed capacity | Est LCA | Cost/yr | LCA
| LCA Energy Accounts & LCA estimates | % Avg | $/KW | kWh
LCA | Primary Technology & Equipment, annualized |  |  | 90.8905
TEA1 | Field technology | 0% | 11.6007 | 0
| Field fuel supply | 0% | 0.17308 | 0
TEA2 | Business operation technology | 0% | 0.34616 | 0
| Business operation fuel supply | 0% | 0 | 0
TEA3 | Management & Development technology | 0% | 25.4772 | 0
| Management & Development fuel supply | 0% |  | 0
| sub tot |  |  | 90.8905
|  | Est Factor | Cost | SEA
| Economic costs & TEA Implied Economic Emergy | % Avg | $/KW | kWh | 2032.3999
SEA0 | Primary Technology & Equip. Cost |  | 1522.856 | 3408.0754
| annualized | 1 | 76.1428 | 170.4038
| Physical Plant (design and installation) Cost |  | 509.5439 | 1140.3337
| annualized | 1 | 25.4772 | 57.0167
SEA1 | Field costs | 1 | 11.6007 | 25.9619
| Field fuels | 1 | 0.17308 | 0.38734
| Field employees | 1 | 2.7485 | 6.151 | 14.5223
| already annualized by JEDI model |  | subtot | 32.5002
SEA2 | Business costs | 1 | 0 | 0
| Biz Fuels | 1 | 0.34616 | 0.77468
| Business salaries | 1 | 1.5392 | 3.4446 | 1.8853
| already annualized by JEDI model |  | subtot | 4.2193
SEA3.0 | Invest Land & Taxes | 1 | 13.986 | 31.3
NoFinance | Invest Fees & Insur | 1 | 3.415 | 7.6426 | 17.401
| already annualized by JEDI model |  | subtot | 38.9425
| sub tot |  | 135.4286 | 303.0825 | 33.8086
| $/kwh |  | 2.2379 |  |  |  | 16.4076
SEA3.2 | Subsidy - Production tax credit effect |  | 591.57 | 132.3904 | Assume PTC lasts 10 yrs and stays at constant value (?) each year for energy purposes
SEA3.0 | SEA3.0-Finance | 1 | 0 | 0 | Make this zero since the energy flow of the trubine and construction obviously has to occur in year 0
SEA3.1 | SEA3.1 | 1 | -1 | -2.2379 | 0 | 0
| Turbine Output | Units | Values |  | Conversions
| Rated turbine capacity | kW | 2000 |  | Wh | btu |  | MWh | Mbtu
| number turbines | num | 50 |  | 1 | 3.41 |  | 1 | 3.41 |  |  |  |  | yr | Milestones | expense | turbines | empl
| total capacity | kW | 100000 | [10 empty] | 0 | const. |  | 0 | 10
| Rated capacity | MW | 100 |  | Constants
| Capacity factor | % | 32.16% | Econ intensity |  | Econ Efficiency |  | Fuel Intensity |  | LCA intensity
| Oversupply factor | % | 0% | btu/$-Avg |  | Wh/$ Avg |  | energy cost |  | KWh LCA | 635077.0508 |  |  | 1 | Startup |  | 20 | 20
| Electricity per turbine | KWh/yr | 5634000 | btu/$ Avg | 7631.4091 | Wh/$ Avg | 2237.9499 | $/kWh | 0.097 | Cost of work | 1522.856
|  |  |  | $/Kbtu | 0.13104 | $/kwh | 0.44684 | fuel-Wh/$ | 10309.2784 | LCA/$ | 417030.2653 |  |  | 2 |  |  | 50 | 10
| Market Price | $/MWh | 100 | %Avg | 100% | %Avg | 100% | %Avg | 460.7% | %Avg | 18634%
| Assumed LCOE | $/MWh | 45
| Heat Rate of Wind Turbine (from EIA NEMS model) | Btu/kWh | 9919
| LCOE in But/$ equivalents using EIA heat rate | Btu/$ | 220422.2222 | [10 empty] | 3 | full production |  | 67 | 8
| LCOE in But/$ equivalents using MWh converstion to Btu | Btu/$ | 75766.9111 | [10 empty] | 4 |  |  | 67 | 8
| Annual LCOE turbine income | $ | 253530000 | 472.4 | World energy consumption (quads in 2006, EIA Intl. Energy Outlook 2009) | [8 empty] | 5 |  |  | 67 | 8
| Total |  | 12676500000 | 47014 | World GDP expressed using market exchange rates (Billion $2005 in the year 2006, EIA Intl. Energy Outlook 2009) | [8 empty] | 6 |  |  | 67 | 8
|  |  |  | 59939 | World GDP expressed using purchasing power parity, PPP (Billion $2005 in the year 2006, EIA Intl. Energy Outlook 2009) | [8 empty] | 7 |  |  | 67 | 8
| Value of Production Tax Credit | $/kWh | 0.021 | 0.96829 | inflation from 2005 to 2006 (0.916 2005 $'s are 1 2008$, and 0.946 2006$'s are 1 2008$) | [8 empty] | 8 |  |  | 67 | 8
| Life of Prduction Tax Credit | yrs | 10 | 9729.4216 | approximate Btu/$-market in 2006 for world | [8 empty] | 9 |  |  | 67 | 8
|  |  |  | 7631.4091 | approximate Btu/$-PPP in 2006 for world |  |  |  | ref'd from "EconomicValueEnergy" |  |  |  |  | 10 |  |  | 67 | 8
|  |  |  | I retraced my data and still get 6660 for that, working from the 2000$ IEA 40 year global PPP series & Fed Reserve inflation calculator | [9 empty] | 11 |  |  | 67 | 8
|  |  |  | 12.73% | difference is not an issue here, our 2006 Quads differ too, |  |  |  | 3.592% | for some reason, from the same data source
|  |  |  | The whole exercise depends on using consistent factors I think, as several items we can't even estimate an uncertainty for. | [9 empty] | 12 |  |  | 67 | 8
|  |  |  | We'd be off that much from the 20 yr values for the annual costs anyway - keep note | [9 empty] | 13 |  |  | 67 | 8
[14 empty] | 14 |  |  | 67 | 8
| LCA & Energy costs | ref'd from "EconomicValueEnergy" | [11 empty] | 15 |  |  | 67 | 8
| Referenced from "EconomicValueEnergy" | [12 empty] | 16 | replace 20 |  | 67 | 10
| Energy Consumption Related to Developing Facility |  |  | Units | Total Vestas LCA Values | Fossil or Renewable | Toal Consumption in MJ per Turbine | Total Consumption in Million Btu per Turbine | Total Consumption in kWh per Turbine | Market Price in $/MillionBtu (1) | Market Value of Energy Input per Turbine |  |  | 17 | replace 30 |  | 67 | 10
| Hard coal |  |  | MJ/kWh | 0.01966 | Fossil | 2215288.8 | 2099.7998 | 615358.0492 | 2.47 | 5186.5055 |  |  | 18 | replace 170 |  | 67 | 10
| Crude oil |  |  | MJ/kWh | 0.05357 | Fossil | 6036267.6 | 5721.5807 | 1676741.1341 | 12.9 | 73808.3906 |  |  | 19 |  |  | 67 | 8
| Lignite (brown coal) |  |  | MJ/kWh | 0.00395 | Fossil | 445086.0026 | 421.8825 | 123635.0106 | 2 | 843.7649 |  |  | 20 |  |  | 67 | 8
| Natural Gas |  |  | MJ/kWh | 0.01436 | Fossil | 1618084.8 | 1533.7297 | 449468.036 | 6.55 | 10045.9293
| Nuclear Power |  |  | MJ/kWh | 0.00348 | Fossil | 392130.5917 | 371.6878 | 108925.1731 | 22.84 | 8489.3485
| Straw |  |  | MJ/kWh | 7e-10 | Renewable | 0.078876 | 7.4764e-05 | 0.02191 | 1 | 7.4764e-05
| Wood |  |  | MJ/kWh | 5.81e-10 | Renewable | 0.065467 | 6.2054e-05 | 0.018185 | 1 | 6.2054e-05
| Other Biomass |  |  | MJ/kWh | 0.000514 | Renewable | 57917.5245 | 54.8981 | 16088.2025 | 1 | 54.8981
| Primary energy from Hydropower |  |  | MJ/kWh | 0.02029 | Renewable | 2286277.2 | 2167.0874 | 635077.0508 | 22.84 | 49496.2761
| Primary energy from wind |  |  | MJ/kWh | 0.00033 | Renewable | 37184.4 | 35.2459 | 10329.0008 | 1 | 35.2459
| Renewable Fuels |  |  | MJ/kWh | 0 | Renewable | 0 | 0 | 0 | 1 | 0
| 0 |  |  | 0 | 0 | Totals: | 13088237.0631 | 12405.9119 | 3635621.6973 | 0 | 147960.3591
| kWh LCA energy per installed turbine KW | [7 empty] | 1817.8108
| Cost of energy per installed turbine KW | [9 empty] | 73.9802
| LCA Est for fuel costs, assuming Crude oil is source |  |  | 0.077519 | Mbtu/$ | 22732.956 | Wh/$ | 10.1579 | times average
NOTE: The EIA AER 2008 states 8,520 Btu/chained 2000 dollar for 2008. Mulitiplying by 0.808 to inflation adust to year 2008 $'s is 6884 Btu/$. 6000btu/$ picked to reflect projected IEA data for inflation and declining intensity trends, and be a round number.
Windfarm in Texas, conceptual model based on JEDI Costs and Vestas LCA embodied energy of technology, estimatingand EROI and eIRR with combined direce and economid energy uses impllied for FIVE scales of operating system organization: LCA, LCA+, TEA1, TEA2 & TEA3 for 1) the primary technology as a system, plus the employees who made it, plus the field operation that runs it, plus the business that supports it, plus the investors that set it up and provide it a place to operate.
nominal range of finanical IRR
Note on C15: Phil Henshaw: does not seem to include business offices
Note on F22: CK % of energy (LCA method) = cumulative money spent at each step / NPV of total cash costs (does not include income from electricity sales)
Note on I22: Phil Henshaw: placeholder from abv
Note on F26: CK MODIFIED by CK - link to tab "EROI vs IRR VestOnshore2MW"
Note on F27: MODIFIED by CK - link to tab "EROI vs IRR VestOnshore2MW"
Note on C30: Phil Henshaw: For Unexamined Technology energy use - In the absense of hard measures of energy use a % of the AvgWh/$ is needed for the LCA + AvgWh/$ equation. 25% is a probable fraction for high technology
Note on E30: Phil Henshaw: LCA physical energy accounts OR product of cost, average Wh/$ and assigned % of Avg as LCA estimate for technology chain energy uses
Note on B33: Phil Henshaw: for fuels stated only in $ costs
Note on B35: Phil Henshaw: for fuels stated only in $ costs
Note on E40: Phil Henshaw: System energy assessment - using average MW/$ adjusted with a % Avg factor if there's a reason
Note on C41: Phil Henshaw: For Unexamined Technology energy use - In the absense of hard measures of energy use a % of the AvgWh/$ is needed for the LCA + AvgWh/$ equation. 25% is a probable fraction for high technology
Note on I68: Phil Henshaw nominal cost of energy (ph Con Ed bill) and fraction of average Wh/$
Note on F69: Phil Henshaw: Same data source yields differing results for unclear reasons….

## EROI vs IRR VestOnshore2MW
STEP 1: LCA | [5 empty] | STEP 1b: LCA+ |  |  |  |  | STEP 2: TEA1 |  |  |  |  | STEP 3: TEA2 |  |  |  |  | STEP 4: SEA3.0 - No Finance |  |  |  |  | STEP 4: SEA3.0 w/ Financing |  |  |  |  | STEP 5: SEA3.1 |  |  |  |  | STEP 6: PTC
Year | Btu/$ | Energy Output Flows per Turbine (kWh equiv) | Energy Input Flows per Turbine (kWh equiv) | Total Energy Flow per Turbine (kWh equiv) | NPV of Energy Flow | Year | Energy Output Flows per Turbine (kWh equiv) | Energy Input Flows per Turbine (kWh equiv) | Total Energy Flow per Turbine (kWh equiv) | NPV of Energy Flow | Year | Energy Output Flows per Turbine (kWh equiv) | Energy Input Flows per Turbine (kWh equiv) | Total Energy Flow per Turbine (kWh equiv) | NPV of Energy Flow | Year | Energy Output Flows per Turbine (kWh equiv) | Energy Input Flows per Turbine (kWh equiv) | Total Energy Flow per Turbine (kWh equiv) | NPV of Energy Flow | Year | Energy Output Flows per Turbine (kWh equiv) | Energy Input Flows per Turbine (kWh equiv) | Total Energy Flow per Turbine (kWh equiv) | NPV of Energy Flow | Year | Energy Output Flows per Turbine (kWh equiv) | Energy Input Flows per Turbine (kWh equiv) | Total Energy Flow per Turbine (kWh equiv) | NPV of Energy Flow | Year | Energy Output Flows per Turbine (kWh equiv) | Energy Input Flows per Turbine (kWh equiv) | Total Energy Flow per Turbine (kWh equiv) | NPV of Energy Flow | Year | Energy Output Flows per Turbine (kWh equiv) | Energy Input Flows per Turbine (kWh equiv) | Total Energy Flow per Turbine (kWh equiv) | NPV of Energy Flow
0 | 7631.4091 | 0 | -3635621.4355 | -3635621.4355 | -3635621.4355 | 0 | 0 | -12732439.7708 | -12732439.7708 | -12732439.7708 | 0 | 0 | -12732439.7708 | -12732439.7708 | -12732439.7708 | 0 | 0 | -12732439.7708 | -12732439.7708 | -12732439.7708 | 0 | 0 | -12732439.7708 | -12732439.7708 | -12732439.7708 | 0 | 0 | -12732439.7708 | -12732439.7708 | -12732439.7708 | 0 | 0 | -12732439.7708 | -12732439.7708 | -12732439.7708 | 0 | 0 | -12732439.7708 | -12732439.7708 | -12732439.7708
1 | 7631.4091 | 5634000 | 0 | 5634000 | 2209700.9465 | 1 | 5634000 | 0 | 5634000 | 3920458.6758 | 1 | 5634000 | -65000.4559 | 5568999.5441 | 3875227.6497 | 1 | 5634000 | -73438.9668 | 5560561.0332 | 3869355.6523 | 1 | 5634000 | -151324.0238 | 5482675.9762 | 3815158.7855 | 1 | 5634000 | -645910.9451 | 4988089.0549 | 3470996.9845 | 1 | 5634000 | -725118.3509 | 4908881.6491 | 3415879.952 | 1 | 5898780.8009 | -725118.3509 | 5173662.4501 | 3600129.5417
2 | 7631.4091 | 5634000 | 0 | 5634000 | 866662.8103 | 2 | 5634000 | 0 | 5634000 | 2728078.8478 | 2 | 5634000 | -65000.4559 | 5568999.5441 | 2696604.519 | 2 | 5634000 | -73438.9668 | 5560561.0332 | 2692518.4481 | 2 | 5634000 | -151324.0238 | 5482675.9762 | 2654805.1757 | 2 | 5634000 | -634721.1958 | 4999278.8042 | 2420736.0242 | 2 | 5634000 | -719077.0829 | 4914922.9171 | 2379889.4655 | 2 | 5898780.8009 | -719077.0829 | 5179703.718 | 2508100.8433
3 | 7631.4091 | 5634000 | 0 | 5634000 | 339912.2528 | 3 | 5634000 | 0 | 5634000 | 1898352.9264 | 3 | 5634000 | -65000.4559 | 5568999.5441 | 1876451.2924 | 3 | 5634000 | -73438.9668 | 5560561.0332 | 1873607.9712 | 3 | 5634000 | -151324.0238 | 5482675.9762 | 1847364.9243 | 3 | 5634000 | -621293.4966 | 5012706.5034 | 1689010.6603 | 3 | 5634000 | -711132.5163 | 4922867.4837 | 1658739.7753 | 3 | 5898780.8009 | -711132.5163 | 5187648.2846 | 1747956.5676
4 | 7631.4091 | 5634000 | 0 | 5634000 | 133316.3697 | 4 | 5634000 | 0 | 5634000 | 1320982.2861 | 4 | 5634000 | -65000.4559 | 5568999.5441 | 1305741.8795 | 4 | 5634000 | -73438.9668 | 5560561.0332 | 1303763.3343 | 4 | 5634000 | -151324.0238 | 5482675.9762 | 1285501.9249 | 4 | 5634000 | -605627.8475 | 5028372.1525 | 1178983.0567 | 4 | 5634000 | -701306.4035 | 4932693.5965 | 1156549.6741 | 4 | 5898780.8009 | -701306.4035 | 5197474.3974 | 1218631.8089
5 | 7631.4091 | 5634000 | 0 | 5634000 | 52287.7721 | 5 | 5634000 | 0 | 5634000 | 919214.8499 | 5 | 5634000 | -65000.4559 | 5568999.5441 | 908609.7053 | 5 | 5634000 | -73438.9668 | 5560561.0332 | 907232.9207 | 5 | 5634000 | -151324.0238 | 5482675.9762 | 894525.59 | 5 | 5634000 | -592200.1482 | 5041799.8518 | 822594.4788 | 5 | 5634000 | -694097.8105 | 4939902.1895 | 805969.3734 | 5 | 5898780.8009 | -694097.8105 | 5204682.9905 | 849169.6652
6 | 7631.4091 | 5634000 | 0 | 5634000 | 20507.6925 | 6 | 5634000 | 0 | 5634000 | 639642.1429 | 6 | 5634000 | -65000.4559 | 5568999.5441 | 632262.4782 | 6 | 5634000 | -73438.9668 | 5560561.0332 | 631304.4329 | 6 | 5634000 | -151324.0238 | 5482675.9762 | 622461.9471 | 6 | 5634000 | -576534.4992 | 5057465.5008 | 574186.736 | 6 | 5634000 | -685055.5094 | 4948944.4906 | 561866.0737 | 6 | 5898780.8009 | -685055.5094 | 5213725.2915 | 591927.3017
7 | 7631.4091 | 5634000 | 0 | 5634000 | 8043.285 | 7 | 5634000 | 0 | 5634000 | 445099.501 | 7 | 5634000 | -65000.4559 | 5568999.5441 | 439964.3092 | 7 | 5634000 | -73438.9668 | 5560561.0332 | 439297.6466 | 7 | 5634000 | -151324.0238 | 5482675.9762 | 433144.5405 | 7 | 5634000 | -558630.9002 | 5075369.0998 | 400966.3212 | 7 | 5634000 | -674205.7761 | 4959794.2239 | 391835.629 | 7 | 5898780.8009 | -674205.7761 | 5224575.0248 | 412753.9468
8 | 7631.4091 | 5634000 | 0 | 5634000 | 3154.6422 | 8 | 5634000 | 0 | 5634000 | 309725.6301 | 8 | 5634000 | -65000.4559 | 5568999.5441 | 306152.2707 | 8 | 5634000 | -73438.9668 | 5560561.0332 | 305688.3688 | 8 | 5634000 | -151324.0238 | 5482675.9762 | 301406.6865 | 8 | 5634000 | -540727.3012 | 5093272.6988 | 279999.4846 | 8 | 5634000 | -662606.2613 | 4971393.7387 | 273299.2649 | 8 | 5898780.8009 | -662606.2613 | 5236174.5396 | 287855.424
9 | 7631.4091 | 5634000 | 0 | 5634000 | 1237.2765 | 9 | 5634000 | 0 | 5634000 | 215524.7664 | 9 | 5634000 | -65000.4559 | 5568999.5441 | 213038.219 | 9 | 5634000 | -73438.9668 | 5560561.0332 | 212715.4096 | 9 | 5634000 | -151324.0238 | 5482675.9762 | 209735.9707 | 9 | 5634000 | -520585.7524 | 5113414.2476 | 195610.1191 | 9 | 5634000 | -650870.158 | 4983129.842 | 190626.1795 | 9 | 5898780.8009 | -650870.158 | 5247910.6429 | 200755.1855
10 | 7631.4091 | 5634000 | 0 | 5634000 | 485.27 | 10 | 5634000 | 0 | 5634000 | 149974.4303 | 10 | 5634000 | -65000.4559 | 5568999.5441 | 148244.1487 | 10 | 5634000 | -73438.9668 | 5560561.0332 | 148019.5195 | 10 | 5634000 | -151324.0238 | 5482675.9762 | 145946.2559 | 10 | 5634000 | -500444.2036 | 5133555.7964 | 136652.8409 | 10 | 5634000 | -641235.4161 | 4992764.5839 | 132905.0451 | 10 | 5898780.8009 | -641235.4161 | 5257545.3849 | 139953.3855
11 | 7631.4091 | 5634000 | 0 | 5634000 | 190.3269 | 11 | 5634000 | 0 | 5634000 | 104360.7661 | 11 | 5634000 | -65000.4559 | 5568999.5441 | 103156.7375 | 11 | 5634000 | -73438.9668 | 5560561.0332 | 103000.4277 | 11 | 5634000 | -151324.0238 | 5482675.9762 | 101557.7326 | 11 | 5634000 | -478064.7049 | 5155935.2951 | 95505.3883 | 11 | 5634000 | -627261.3629 | 5006738.6371 | 92741.7607 | 11 | 5634000 | -627261.3629 | 5006738.6371 | 92741.7607
12 | 7631.4091 | 5634000 | 0 | 5634000 | 74.6478 | 12 | 5634000 | 0 | 5634000 | 72620.1759 | 12 | 5634000 | -65000.4559 | 5568999.5441 | 71782.3441 | 12 | 5634000 | -73438.9668 | 5560561.0332 | 71673.5748 | 12 | 5634000 | -151324.0238 | 5482675.9762 | 70669.6652 | 12 | 5634000 | -453447.2563 | 5180552.7437 | 66775.4085 | 12 | 5634000 | -613150.7212 | 5020849.2788 | 64716.8899 | 12 | 5634000 | -613150.7212 | 5020849.2788 | 64716.8899
13 | 7631.4091 | 5634000 | 0 | 5634000 | 29.2775 | 13 | 5634000 | 0 | 5634000 | 50533.2621 | 13 | 5634000 | -65000.4559 | 5568999.5441 | 49950.2509 | 13 | 5634000 | -73438.9668 | 5560561.0332 | 49874.563 | 13 | 5634000 | -151324.0238 | 5482675.9762 | 49175.9855 | 13 | 5634000 | -428829.8077 | 5205170.1923 | 46686.9417 | 13 | 5634000 | -599040.0795 | 5034959.9205 | 45160.2679 | 13 | 5634000 | -599040.0795 | 5034959.9205 | 45160.2679
14 | 7631.4091 | 5634000 | 0 | 5634000 | 11.4829 | 14 | 5634000 | 0 | 5634000 | 35163.9272 | 14 | 5634000 | -65000.4559 | 5568999.5441 | 34758.2347 | 14 | 5634000 | -73438.9668 | 5560561.0332 | 34705.5668 | 14 | 5634000 | -151324.0238 | 5482675.9762 | 34219.4567 | 14 | 5634000 | -401974.4093 | 5232025.5907 | 32655.0527 | 14 | 5634000 | -582691.488 | 5051308.512 | 31527.129 | 14 | 5634000 | -582691.488 | 5051308.512 | 31527.129
15 | 7631.4091 | 5634000 | 0 | 5634000 | 4.5037 | 15 | 5634000 | 0 | 5634000 | 24469.067 | 15 | 5634000 | -65000.4559 | 5568999.5441 | 24186.763 | 15 | 5634000 | -73438.9668 | 5560561.0332 | 24150.1137 | 15 | 5634000 | -151324.0238 | 5482675.9762 | 23811.8505 | 15 | 5634000 | -372881.061 | 5261118.939 | 22849.6045 | 15 | 5634000 | -566206.308 | 5067793.692 | 22009.9722 | 15 | 5634000 | -566206.308 | 5067793.692 | 22009.9722
16 | 7631.4091 | 5634000 | 0 | 5634000 | 1.7664 | 16 | 5634000 | 0 | 5634000 | 17026.973 | 16 | 5634000 | -65000.4559 | 5568999.5441 | 16830.5298 | 16 | 5634000 | -73438.9668 | 5560561.0332 | 16805.0271 | 16 | 5634000 | -151324.0238 | 5482675.9762 | 16569.6443 | 16 | 5634000 | -341549.7628 | 5292450.2372 | 15994.7475 | 16 | 5634000 | -547483.1781 | 5086516.8219 | 15372.3792 | 16 | 5634000 | -547483.1781 | 5086516.8219 | 15372.3792
17 | 7631.4091 | 5634000 | 0 | 5634000 | 0.69279 | 17 | 5634000 | 0 | 5634000 | 11848.3394 | 17 | 5634000 | -65000.4559 | 5568999.5441 | 11711.643 | 17 | 5634000 | -73438.9668 | 5560561.0332 | 11693.8967 | 17 | 5634000 | -151324.0238 | 5482675.9762 | 11530.104 | 17 | 5634000 | -307980.5147 | 5326019.4853 | 11200.6543 | 17 | 5634000 | -526522.0983 | 5107477.9017 | 10741.0599 | 17 | 5634000 | -526522.0983 | 5107477.9017 | 10741.0599
18 | 7631.4091 | 5634000 | 0 | 5634000 | 0.27172 | 18 | 5634000 | 0 | 5634000 | 8244.7506 | 18 | 5634000 | -65000.4559 | 5568999.5441 | 8149.6295 | 18 | 5634000 | -73438.9668 | 5560561.0332 | 8137.2806 | 18 | 5634000 | -151324.0238 | 5482675.9762 | 8023.3042 | 18 | 5634000 | -272173.3168 | 5361826.6832 | 7846.4543 | 18 | 5634000 | -505424.43 | 5128575.57 | 7505.1165 | 18 | 5634000 | -505424.43 | 5128575.57 | 7505.1165
19 | 7631.4091 | 5634000 | 0 | 5634000 | 0.10657 | 19 | 5634000 | 0 | 5634000 | 5737.1679 | 19 | 5634000 | -65000.4559 | 5568999.5441 | 5670.9772 | 19 | 5634000 | -73438.9668 | 5560561.0332 | 5662.3842 | 19 | 5634000 | -151324.0238 | 5482675.9762 | 5583.0729 | 19 | 5634000 | -234128.169 | 5399871.831 | 5498.7525 | 19 | 5634000 | -482088.8119 | 5151911.1881 | 5246.2513 | 19 | 5634000 | -482088.8119 | 5151911.1881 | 5246.2513
20 | 7631.4091 | 5634000 | 0 | 5634000 | 0.041797 | 20 | 5634000 | 0 | 5634000 | 3992.2488 | 20 | 5634000 | -65000.4559 | 5568999.5441 | 3946.1895 | 20 | 5634000 | -73438.9668 | 5560561.0332 | 3940.21 | 20 | 5634000 | -151324.0238 | 5482675.9762 | 3885.0207 | 20 | 5634000 | -193845.0714 | 5440154.9286 | 3854.8903 | 20 | 5634000 | -457923.156 | 5176076.844 | 3667.7647 | 20 | 5634000 | -457923.156 | 5176076.844 | 3667.7647
|  | 112680000 | -3635621.4355 | 109044378.5645 | 4.0166e-08 |  | 112680000 | -12732439.7708 | 99947560.2292 | 148610.9638 |  | 112680000 | -14032448.8888 | 98647551.1112 | 1.3579e-09 |  | 112680000 | -14201219.1065 | 98478780.8935 | -19293.0222 |  | 112680000 | -15758920.2474 | 96921079.7526 | -197362.1331 |  | 112680000 | -22013990.1345 | 90666009.8655 | -1253835.1699 |  | 112680000 | -25104936.6899 | 87575063.3101 | -1466190.747 |  | 115327808.0094 | -25104936.6899 | 90222871.3195 | -876517.5091
[8 empty] | -9096818.3353 | difference |  |  |  | -32.5002 |  |  |  |  | -8438.5109 |  |  |  |  | -77885.057 | [13 empty] | Ratio of final energy inputs calcualted over initial LCA energy inputs --> | 6.9053
EROI |  | 30.9933 |  |  |  | EROI | 8.8498 | -4548.4092 | kWh/kW |  | EROI | 8.03 |  | -4476.6154 |  | EROI | 7.9345 | -4.2193 | -4464.8206 |  | EROI | 7.1502 | -4476.1527 | -38.9425 |  | EROI | 5.1186 | -120406.1046 |  |  | EROI | 4.4884 | -306599.1322 |  |  | EROI | 4.5938
IRR |  | 155% |  |  |  | IRR | 44.22% |  |  |  | IRR | 43.71% |  |  |  | IRR | 43.64% |  |  |  | IRR | 43.03% |  |  |  | IRR | 39.41% |  |  |  | IRR | 38.67% |  |  |  | IRR | 40.68%
[23 empty] | 18600 | [13 empty] | 264780.8009
Do we want to go back to perTurbine rather than per KW installed like the JEDI data as before?
| Energy Consumption Incorporated | [5 empty] | Energy Consumption Incorporated |  |  |  |  | Energy Consumption Incorporated |  |  |  |  | Energy Consumption Incorporated |  |  |  |  | Energy Consumption Incorporated |  |  |  |  | Energy Consumption Incorporated |  |  |  |  | Energy Consumption Incorporated |  |  |  |  | Energy Consumption Incorporated
1 | Year 0: Energy for purchasing fuels in LCA |  |  |  |  | 1 | All of Step 1: LCA |  |  |  | 1 | All of Step 1b: LCA+ |  |  |  | 1 | All of Step 2: TEA1 |  |  |  | 1 | All of Step 3: TEA2 |  |  |  | 1 | All of Step 4: TEA3 |  |  |  | 1 | All of Step 4: TEA3 |  |  |  | 1 | All of Step 5: TEA4
2 | Annual: none |  |  |  |  | 2 | Year 0: Energy associated with "turbine purchase cost" |  |  |  | 2 | Year 0: none |  |  |  | 2 | Year 0: none |  |  |  | 2 | Year 0: none |  |  |  | 2 | Year 0: none |  |  |  | 2 | Year 0: none |  |  |  | 2 | Year 0: none
[6 empty] | 3 | Year 0: Energy associated with construction costs "all Physical Plant" of JEDI |  |  |  | 3 | Annual: Energy associated with "field O&M costs" |  |  |  | 3 | Annual: Energy associated with "Business O&M costs" |  |  |  | 3 | Annual: Energy associated with "local taxes, fees, and insurance" |  |  |  | 3 | Annual: Financing (paying off loan) turned into energy flow for 1st 10 yrs |  |  |  | 3 | Annual: Financing (paying off loan) turned into energy flow for 1st 10 yrs |  |  |  | 3 | Annual: Subsidy of Production Tax Credit (first 10 years)
[6 empty] | 4 | Annual: none | [13 empty] | 4 | Annual: federal taxes imposed are assumed ZERO
|  |  | Additional Energy cost (Year 0) |  |  |  |  | Additional Energy cost (Year 0) |  |  |  |  | Additional Energy cost (Year 0) |  |  |  |  | Additional Energy cost (Year 0) |  |  |  |  | Additional Energy cost (Year 0) |  |  |  |  | Additional Energy cost (Year 0) |  |  |  |  | Additional Energy cost (Year 0) |  |  |  |  | Additional Energy cost (Year 0)
|  |  | -3635621.4355 |  |  |  |  | -9096818.3353 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  | -1817.8107 | kWh/kW |  |  |  | -4548.4092 | kWh/kW |  |  |  | 0 | kWh/kW |  |  |  | 0 | kWh/kW |  |  |  | 0 | kWh/kW |  |  |  | 0 | kWh/kW |  |  |  | 0 | kWh/kW |  |  |  | 0 | kWh/kW
|  |  | Additional annual cost |  |  |  |  | Additional annual cost |  |  |  |  | Additional annual cost |  |  |  |  | Additional annual cost |  |  |  |  | Additional annual cost |  |  |  |  | Additional annual cost |  |  |  |  | Additional annual cost |  |  |  |  | Additional annual cost
|  |  | 0 |  |  |  |  | 0 |  |  |  |  | -65000.4559 |  |  |  |  | -8438.5109 |  |  |  |  | -77885.057 |  |  |  |  | -572471.9784 |  |  |  |  | -573794.3271 |  |  |  |  | 264780.8009
|  |  | 0 | kWh/kW |  |  |  | 0 | kWh/kW |  |  |  | -32.5002 | kWh/kW |  |  |  | -4.2193 | kWh/kW |  |  |  | -38.9425 | kWh/kW |  |  |  | -286.236 | kWh/kW |  |  |  | -286.8972 | kWh/kW |  |  |  | 132.3904 | kWh/kW
2008
2009 | [27 empty] | -494586.9213 |  |  |  |  | -79207.4057
2010 | [27 empty] | -483397.172 |  |  |  |  | -84355.8871
2011 | [27 empty] | -469969.4727 |  |  |  |  | -89839.0198
2012 | [27 empty] | -454303.8236 |  |  |  |  | -95678.5561
2013 | [27 empty] | -440876.1244 |  |  |  |  | -101897.6622
2014 | [27 empty] | -425210.4753 |  |  |  |  | -108521.0103
2015 | [27 empty] | -407306.8764 |  |  |  |  | -115574.8759
2016 | [27 empty] | -389403.2774 |  |  |  |  | -121878.9601
2017 | [27 empty] | -369261.7286 |  |  |  |  | -130284.4056
2018 | [27 empty] | -349120.1797 |  |  |  |  | -140791.2125
2019 | [27 empty] | -326740.681 |  |  |  |  | -149196.658
2020 | [27 empty] | -302123.2325 |  |  |  |  | -159703.4649
2021 | [27 empty] | -277505.7839 |  |  |  |  | -170210.2718
2022 | [27 empty] | -250650.3855 |  |  |  |  | -180717.0787
2023 | [27 empty] | -221557.0371 |  |  |  |  | -193325.247
2024 | [27 empty] | -190225.739 |  |  |  |  | -205933.4153
2025 | [27 empty] | -156656.4909 |  |  |  |  | -218541.5836
2026 | [27 empty] | -120849.293 |  |  |  |  | -233251.1132
2027 | [27 empty] | -82804.1452 |  |  |  |  | -247960.6429
2028 | [27 empty] | -42521.0475 |  |  |  |  | -264078.0847
[27 empty] | average annual energy cost of financing | -312753.4944 |  |  |  | average annual energy cost of income taxes | -154547.3278
[27 empty] | kWh/kW | -156.3767 |  |  |  | kWh/kW | -77.2737

## JEDI Project data
Wind Farm Project Data
INSTRUCTIONS: Begin by entering Project Location (from pull-down list) and other Descriptive Data.
After inserting required data press enter (or cursor to the next cell) to continue.
Once Descriptive Data is complete, choose "Y" or "N" on Line 24 to continue.
Choose "Y" to accept Project Cost and Local Share defaults or "N" to review/modify values.
To utilize new values in analysis you must choose an "N" in "Utilize Model Default Values (below)?" - Line 24
Additional information is available by pointing to the red triangles located in cell corners and in the FAQ tab.
Only those cells with a white background can be changed (accept new values).
Project Descriptive Data
Project Location | TEXAS
Population (only required for County/Region analysis)
Year of Construction | 2009
Total Project Size - Nameplate Capacity (MW) | 100 |  |  |  | 100000 | _KW
Number of Projects (included in Total Project Size) | 1
Turbine Size (KW) | 2000
Number of Turbines | 50
Installed Project Cost ($/KW) | 2032.0136 |  | Please review O&M Materials & Services parameters;
Operations and Maintenance Cost ($/kW) | 19.8226 |  | costs may be below industry standards.**
Money Value - Current or Constant (Dollar Year) | 2008
Utilize Project Cost Data default values in analysis? Choose "Y" to accept default values below or "N" to over-ride default values and utilize new user defined values as entered below. See FAQ for related topics. | N |  | Modify Project Cost Data (change data below)
If desired, default values (in cells below - based on Project Descriptive Data entered above) may be restored by pressing the 'Restore Default Values' button. Note: it is not necessary to restore defaults to incorporate default Project Cost Data in system analysis - simply choose "Y" in cell B24 above.
Project Cost Data
|  | Cost | Percent of |  | I/0 | I/O |  | Cost | Cost
Construction Costs | Cost | Per KW | Total Cost | Local Share | Cost/kW | fuels |  | per KW | Per Turbine
Equipment Costs
Turbines (excluding blades and towers) | 91066790.1094 | 910.6679 | 44.81% | 0% |  |  |  | 910.6679 | 1821335.8022
Blades | 21319984.3065 | 213.1998 | 10.49% | 0% |  |  |  | 213.1998 | 426399.6861
Towers | 23604268.3394 | 236.0427 | 11.61% | 0% |  |  |  | 236.0427 | 472085.3668
Transportation | 16294559.4343 | 162.9456 | 8.017% | 0% |  |  |  | 162.9456 | 325891.1887
Equipment Total | 152285602.1896 | 1522.856 | 74.93% |  | 1522.856 | Tech Eqp |  | 1522.856 | 3045712.0438
Balance of Plant
Materials
Construction (concrete, rebar, equip, roads and site prep) | 22005269.8118 | 220.0527 | 10.83% | 90% |  |  |  | 220.0527 | 440105.3962
Transformer | 2489252.2217 | 24.8925 | 1.225% | 0% |  |  |  | 24.8925 | 49785.0444
Electrical (drop cable, wire, ) | 2623840.0433 | 26.2384 | 1.291% | 100% |  |  |  | 26.2384 | 52476.8009
HV line extension | 4792880.4023 | 47.9288 | 2.358% | 70% |  |  |  | 47.9288 | 95857.608
Materials Subtotal | 31911242.4791 | 319.1124 | 15.7% |  | 319.1124 | Constr. Matls. |  | 319.1124 | 638224.8496
Labor
Foundation | 1215941.7097 | 12.1594 | 0.5983% | 95% |  |  |  | 12.1594 | 24318.8342
Erection | 1377226.5544 | 13.7723 | 0.6776% | 75% |  |  |  | 13.7723 | 27544.5311
Electrical | 2007033.9171 | 20.0703 | 0.9875% | 70% |  |  |  | 20.0703 | 40140.6783
Management/Supervision | 1041453.6117 | 10.4145 | 0.5124% | 0% |  |  |  | 10.4145 | 20829.0722
Misc. | 7721651.5254 | 77.2165 | 3.799% | 50% |  |  |  | 77.2165 | 154433.0305
Labor Subtotal | 13363307.3183 | 133.6331 | 6.575% |  |  |  |  | 133.6331 | 267266.1464
Development/Other Costs
HV Sub/Interconnection
Materials | 1512338.0535 | 15.1234 | 0.7441% | 90% | 15.1234 | Trans. Matls. |  | 15.1234 | 30246.7611
Labor | 463258.9479 | 4.6326 | 0.2279% | 10% |  |  |  | 4.6326 | 9265.179
Engineering | 2057913.5431 | 20.5791 | 1.013% | 0% |  |  |  | 20.5791 | 41158.2709
Legal Services | 1121562.881 | 11.2156 | 0.5518% | 100% |  |  |  | 11.2156 | 22431.2576
Land Easements | 0 | 0 | 0% | 100% |  |  |  | 0 | 0
Site Certificate/Permitting | 524767.9535 | 5.2477 | 0.2582% | 100% |  |  |  | 5.2477 | 10495.3591
Development/Other Subtotal | 5679841.379 | 56.7984 | 2.795% |  |  |  |  | 56.7984 | 113596.8276
Balance of Plant Total | 50954391.1764 | 509.5439 | 25.07% |  | 509.5439 | Invest eqp |  | 509.5439 | 1019087.8235
Total | 203239993.3659 | 2032.3999 | 100% |  |  |  |  | 2032.3999 | 4064799.8673
0
Wind Farm Annual Operating and Maintenance Costs | [7 empty] | 0
Please review O&M Materials & Services parameters; |  | Cost | Percent of |  |  |  |  | Cost | Cost
costs may be below industry standards.** | Cost | Per KW | Total Cost | Local Share |  |  |  | Per KW | Per Turbine
Labor | [7 empty] | 0
Personnel | [7 empty] | 0
Field Salaries | 274850.6311 | 2.7485 | 13.87% | 100% | 2.7485 | field empl |  | 2.7485 | 5497.0126
Administrative | 43976.101 | 0.43976 | 2.218% | 100% | 1.5392 | biz empl |  | 0.43976 | 879.522
Management | 109940.2524 | 1.0994 | 5.546% | 100% | 14.8685 |  | 17.9373 | 1.0994 | 2198.805
Labor/Personnel Subtotal | 428766.9845 | 4.2877 | 21.63% |  |  |  | 1.8853 | 4.2877 | 8575.3397
Materials and Services | [7 empty] | 0
Vehicles | 44379.2513 | 0.44379 | 2.239% | 100% | 11.6007 | field oper |  | 0.44379 | 887.585
Site Maint/Misc. Services | 17307.908 | 0.17308 | 0.8731% | 80% | 3.415 | invest oper |  | 0.17308 | 346.1582
Fees, Permits, Licenses | 8653.954 | 0.08654 | 0.4366% | 100% |  | field fuel | 0.17308 | 0.08654 | 173.0791
Utilities | 34615.8161 | 0.34616 | 1.746% | 100% |  | biz fuel | 0.34616 | 0.34616 | 692.3163 | Insurance % of Equipment and Balance of plant costs
Insurance | 332844.3851 | 3.3284 | 16.79% | 0% |  |  |  | 3.3284 | 6656.8877 | 0.0016377
Fuel (motor vehicle gasoline) | 17307.908 | 0.17308 | 0.8731% | 100% |  |  |  | 0.17308 | 346.1582
Consumables/Tools and Misc. Supplies | 112501.4022 | 1.125 | 5.675% | 100% |  |  |  | 1.125 | 2250.028
Replacement Parts/Equipment/ Spare Parts Inventory | 985885.0687 | 9.8589 | 49.74% | 2% |  |  |  | 9.8589 | 19717.7014
Materials and Services Subtotal | 1553495.6935 | 15.535 | 78.37% |  |  |  |  | 15.535 | 31069.9139
Total O&M Cost | 1982262.678 | 19.8226 | 100% |  |  |  |  | 19.8226 | 39645.2536
[5 empty] | 0 | biz office cost allow (Phil added $0.50 here for some reason)
Other Parameters
Financial Parameters |  |  |  | Local Share
Debt Financing | [7 empty] | 0
Percentage financed | 80% |  |  | 0% | 2066.0355 | total |  | 0
Years financed (term) | 10 | [6 empty] | 0
Interest rate | 10% | [6 empty] | 0
Equity Financing/Repayment | [7 empty] | 0
Percentage equity | 20% | [6 empty] | 0
Individual Investors (percent of total equity) | 0% |  |  | 100% |  |  |  | 0
Corporate Investors (percent of total equity) | 100% |  |  | 0% |  |  |  | 0
Return on equity (annual interest rate) | 16% | [6 empty] | 0
Repayment term (years) | 10 | [6 empty] | 0
Tax Parameters | [7 empty] | 0
Local Property/Other Tax Rate (percent of taxable value) | na | [6 empty] | 0
Assessed value (percent of construction cost) | na | [6 empty] | 0
Taxable Value (percent of assessed value) | na | [6 empty] | 0
Taxable Value | na | [6 empty] | 0 |  | % of Equipment and Balance of plant costs
Taxes Per MW | 10986 | [6 empty] | 10.986 | 21972 | 0.0054054
Local Taxes | 1098600 |  |  | 100% | 13.986 | Invest exp |  | 10.986 |  | Assume this is per year?
Land Lease Parameters
Land Lease Cost (per turbine) | 6000 |  |  |  | 33.8086 |  |  | 3 |  | Assume this is per year?
Number of Turbines | 50
Land Lease (total cost) | 300000
Lease Payment recipient (F = farmer/household, O = Other) | F |  |  | 100% |  |  |  | 0
Payroll Parameters | [7 empty] | 0
Construction Labor | Wage per hour |  | Employer Payroll Overhead |  |  |  |  | 0
Foundation | 17.5922 |  | 37.61% |  |  |  |  | 0
Erection | 19.9257 |  | 37.61% |  |  |  |  | 0
Electrical | 26.398 |  | 37.61% |  |  |  |  | 0
Management/Supervision | 35.8855 |  | 37.61% |  |  |  |  | 0
O&M Labor | Wage per hour |  | Employer Payroll Overhead |  |  |  |  | 0
Field Salaries (technicians, other) | 24.0069 |  | 37.61% |  |  |  |  | 0
Administrative | 15.3644 |  | 37.61% |  |  |  |  | 0
Management/Supervision | 38.411 |  | 37.61% |  |  |  |  | 0
0
0
0
0
Note on A13: Project location is state name (or other user add-in location - MyCounty or MyRegion) where wind plant is constructed. (Entry required -choose from pull-down list)
Note on A14: If running a county or regional analysis: area population is required to incorporate appropriate default values for local shares.
Note on A15: Year of construction is year in which construction occurs - not to exceed 2030. (Entry required)
Note on A16: Project size is number of megawatts (MW) - 1 MW = 1 thousand kilowatts (KW). (Entry required) Due to economies of scale for larger projects, it is recommended Users analyze projects individually rather than grouping them together as one project.
Note on A19: The number of Turbines is automatically calculated by dividing the project size (MW * 1000) by the turbine size (KW).
Note on A20: Default installed cost is based on national average costs (i.e., construction cost) adjusted for geographic differences in construction labor costs. This value is automatically entered unless changed by user. Installed cost does not include land easement or interest payments during construction period.
Note on A21: Default Annual Operations and Maintenance Cost is based on national average costs for the respective size wind farm. The cost is automatically entered unless revised by user. The cost includes all operating and maintenance costs except costs associated with debt or equity financing, land easement, or taxes (these values are included elsewhere).
Note on A22: Money value refers to the time value of money - accounting for inflationary influences over time. "Current" implies dollar values are the same year as construction (e.g., enter 2004 for construction in 2004). "Constant" implies dollar values are for a year other than the year construction occurs (e.g., enter 1999 for construction in 2004 with cost estimates in 1999 dollar values).
Note on A24: Choose "Y" to run analysis using System Description Data (entered above) and default System Cost Data (automatically entered below). Choose "N" to run analysis using System Descriptive Data (entered above) with user modified System Cost Data (entered below) . User defined cost data will not be incorporated in the analysis if an "N" is not chosen here. (Entry Required)
Note on E31: Local Share is the percentage of expenditure spent in the state or local region where the plant is constructed.
Note on A45: Labor Costs include hourly wages plus employer paid costs such as health benefits, workers compensation, disability insurance, and social security, among others. **If revising labor costs, please note: Labor costs (entered in these cells) are associated with per hour construction wage rates (entered below). Therefore, user changes to labor costs must be accompanied by changes in hourly wage rates and overhead costs or changes will adversely impact (increase or decrease) the total number of construction workers reported (calculated) in the results. See FAQ for related information.
Note on A48: Electrical labor refers to all electrical work (on turbine connections and wiring, underground wiring, and all other electrical related equipment) except that related to HV substation/interconnection, accounted for separately.
Note on A50: Miscellaneous labor costs include additional worker allowances for housing, food and other living expenses, and other labor related costs.
Note on A54: HV Substation/Interconnect materials includes all associated materials and equipment (except transformer - accounted for in materials elsewhere).
Note on A55: HV Substation/Interconnect labor includes all associated electrical labor as well as engineering and design costs.
Note on A58: Land easement refers to payments made to land owner to secure the site before and/or during the construction period. Due to the large variation in land easement arrangements, this calculation does not include costs for land easement.
Note on D65: For purposes of calculating the O&M percentages for each expenditure, the Total Cost does not include costs for land easement. These costs (noted below) are however included in the impact analysis.
Note on E66: Local Share is the percentage of expenditure spent in the state or local region where the plant is constructed.
Note on A68: Personnel Costs include hourly wages plus employer paid costs such as health benefits, workers compensation, disability insurance, and social security, among others. **If revising labor costs, please note: Labor costs (entered in these cells) are associated with per hour O&M wage rates and employer payroll overhead (entered below). Therefore, user changes to labor costs must be accompanied by changes in hourly wage rates and employer payroll overhead costs or changes will adversely impact (increase or decrease) the total number of construction workers reported (calculated) in the results. See FAQ for related information.
Note on A83: Annual Operations and Maintenance Cost does not include costs associated with debt or equity payments, land easement, or taxes.
Note on E86: Local Share is the percentage of expenditure spent in the state or local region where the plant is constructed.
Note on A88: Percentage financed is the share of project construction cost financed through a loan.
Note on A89: Years financed is the number of years required to payback the amount borrowed (initial loan amount).
Note on A90: Interest rate refers to the annual rate charged by the lender. (Example: 10 = 10%)
Note on A92: This percentage is the share of project construction cost (after accounting for the share from debt financing) secured through investment by individuals and/or corporate investors.
Note on A93: Individual Investors refers to households that provide resources (invest) towards equity in the project, rather than direct loans for debt financing.
Note on A94: Corporate Investors refers to businesses that provide equity investment. This calculation is automatically derived from the percentage entered in Individual (above) - the sum of the two equals 100 percent.
Note on A102: If Taxes Per MW are entered by user, Local Property/Other Tax Rate (cell B98) must be set to "na" (without quotes) to incorporate the user set Taxes Per MW value in the calculation.
Note on A103: Automatically calculated from per MW tax rate (if available), from tax parameters entered above, or local tax value entered by user.
Note on B107: Entry required if cost is calculated using a method other than the lease cost per turbine (above) times the number of turbines (above).
Note on B110: Wage per hour is the average base wage only; it does not include employer payroll overhead, which are based on the percentages of wages noted. **If revising wages per hour, please note: wage rates (entered in these cells) are associated with consruction labor personnel costs (entered above) and employer payroll overhead (entered to the right). Therefore, user changes to wage rates must be accompanied by changes in labor costs (and potentially employer payroll overhead costs) or changes will adversely impact (increase or decrease) the total number of construction workers reported (calculated) in the results. See FAQ for related information.
Note on D110: Employer payroll overhead refers to the additional percentage of wages employers spend to pay for employee health benefits, workers compensation, disability insurance, and social security, among others. **If revising employer payroll overhead, please note: overhead rates (entered in these cells) are associated with consruction labor personnel costs (entered above) and wages per hour (entered to the left). Therefore, user changes to overhead rates must be accompanied by changes in labor costs and wages per hour or changes will adversely impact (increase or decrease) the total number of construction workers reported (calculated) in the results. See FAQ for related information.
Note on B115: Wage per hour is the average base wage only; does not include employer payroll costs, which are automatically included in the impact analysis. **If revising Wage rates, please note: Wage rates (entered in these cells) are associated with O&M labor personnel costs (entered above). Therefore, user changes to O&M laobr personnel costs and/or hourly labor rates and employer payroll costs will impact (increase or decrease) the total number of O&M employees reported (calculated) in the results.
Note on D115: Employer payroll overhead refers to the additional percentage of wages employers spend to pay for employee health benefits, workers compensation, disability insurance, and social security, among others. **If revising employer payroll overhead, please note: overhead rates (entered in these cells) are associated with O&M labor personnel costs (entered above) and wages per hour (entered to the left). Therefore, user changes to overhead rates must be accompanied by changes in labor costs and wages per hour or changes will adversely impact (increase or decrease) the total number of construction workers reported (calculated) in the results. See FAQ for related information.
Note on A119: **If revising Wage rates, please note: Wage rates (entered in these cells) are associated with O&M personnel costs (entered above). Therefore, user changes to O&M personnel costs and/or hourly labor rates and employer payroll costs will impact (increase or decrease) the total number of O&M employees reported (calculated) in the results.

## NREL_OnlineCashFlow_SEA3.1
|  |  | NPV of Additional Costs ($1000s) | Assumed Discount rate | Break Even LCOE ($/MWh) | IRR (adding the revenue to each step) |  | Back calculated electricity price assumed by NREL model ($/MWh)
|  | LCA | 147.9604 |  | 2.2896 |  |  | 69.0451 | <-- Seems like we should be able to match this value to our LCOE calculations if we can make TOTAL CASH FLOW = $0
Base Case |  | LCA+ (now SEA0) | 7103.9122 | 6% | 5.82 | 12.33% |  |  | 6.8% | loan interest rate |  |  |  |  | 80% | debt financing amount (% of capital costs) for 20 yrs | [6 empty] | 0% | Property tax (% of equip and balance of station costs)
December 23, 2009 |  | SEA1 | 7632.5389 |  | 6.63 | 7.765% |  |  | 6% | power purchaser discount rate (for LCOE calc) |  |  |  |  | 0 | PTC amount for 10 years (cents/kWh) | [6 empty] | 0% | Insureance (% of equip and balance of station costs)
|  | SEA2 | 7687.5262 |  | 6.71 | 7.377% |  |  | 6% | project owner discount rate (for NPV calc) |  |  |  |  | 7.45 | Nominal Levelised Cost of Energy (LCOE) (cents/kWh):NREL Online calculator
|  | SEA3.0-NoFinance | 8180.7505 |  | 7.46 | #NUM! |  |  | 1% | energy payment escalation rate |  |  |  |  | 5.7 | Real LCOE (start year cents/kWh): NREL Online Calculator
|  | SEA3.0-Finance | 8389.5414 |  | 7.77 | #DIV/0! |  |  | 37% | marginal federal tax rate |  |  |  |  | 9.9 | Breakeven LCOE (cents/kWh): NREL online calculator
|  | SEA3.1 | 8373.54 |  | 9.9 | #DIV/0! |  |  | 6% | target IRR |  |  |  |  | 7 | Payback Period (Years): NREL online calculator
|  | SEA3.2 | 8325.1231 |  | 7.89 |  |  |  | 0% | site owner royalty rate (% of revenues) |  |  |  | 0 | -1 | Net Present Value (start year dollars): NREL online calculator
16.17%
ProjectYear | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
CalendarYear | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Revenues
EnergyPayment | 0 | 389 | 393 | 397 | 401 | 405 | 409 | 413 | 417 | 421 | 425 | 429 | 434 | 438 | 442 | 447 | 451 | 456 | 460 | 465 | 470
InterestonReserves | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TotalRevenues | 0 | 389 | 393 | 397 | 401 | 405 | 409 | 413 | 417 | 421 | 425 | 429 | 434 | 438 | 442 | 447 | 451 | 456 | 460 | 465 | 470
OperatingCosts
FixedO&M | 0 | 68 | 70 | 72 | 74 | 76 | 78 | 81 | 83 | 86 | 88 | 91 | 94 | 96 | 99 | 102 | 105 | 109 | 112 | 115 | 119
VariableO&M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SiteOwnerRoyalty | 0 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 14 | 14 | 14 | 14 | 14
PropertyTax | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Insurance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OtherCosts | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TotalOperatingCosts | 0 | 79 | 81 | 84 | 86 | 88 | 91 | 93 | 96 | 98 | 101 | 104 | 107 | 110 | 113 | 116 | 119 | 122 | 126 | 129 | 133
OperatingIncome | 0 | 309 | 311 | 313 | 315 | 316 | 318 | 320 | 321 | 323 | 324 | 326 | 327 | 329 | 330 | 331 | 332 | 334 | 335 | 336 | 337
OtherExpenses
InterestonLoan | 0 | 221 | 216 | 210 | 203 | 197 | 190 | 182 | 174 | 165 | 156 | 146 | 135 | 124 | 112 | 99 | 85 | 70 | 54 | 37 | 19
DepreciationPercentage | 0 | 20% | 32% | 19.2% | 11.52% | 11.52% | 5.76% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Depreciation | 0 | 813 | 1301 | 780 | 468 | 468 | 234 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Amortization | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TotalOtherExpenses | 0 | 1034 | 1516 | 990 | 672 | 665 | 424 | 182 | 174 | 165 | 156 | 146 | 135 | 124 | 112 | 99 | 85 | 70 | 54 | 37 | 19
[9 empty] | 1.0652 | 1.0748 | 1.0696 | 1.0651 | 1.0667 | 1.0677 | 1.0634 | 1.0688 | 1.0644 | 1.0645 | 1.0644
Before-TaxProfits | 0 | -725 | -1205 | -677 | -357 | -349 | -106 | 138 | 147 | 158 | 169 | 180 | 192 | 205 | 218 | 233 | 248 | 264 | 281 | 299 | 318
IncomeTaxPaid | 0 | -268 | -446 | -251 | -132 | -129 | -39 | 51 | 55 | 58 | 62 | 67 | 71 | 76 | 81 | 86 | 92 | 98 | 104 | 111 | 118
TaxCreditsReceived | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 35.3928 | 37.6934 | 40.1434 | 42.7528 | 45.5317 | 48.4913 | 51.6432 | 54.4601 | 58.216 | 62.9108 | 66.6667 | 71.3615 | 76.0563 | 80.7512 | 86.385 | 92.0188 | 97.6526 | 104.2254 | 110.7981 | 118 | 69.0575 | average annual income tax
After-TaxProfits | 0 | -457 | -759 | -427 | -225 | -220 | -67 | 87 | 93 | 99 | 106 | 113 | 121 | 129 | 138 | 147 | 156 | 166 | 177 | 188 | 200 | 34.5288 | income tax ($/kW)
Additions
Year1CashfromFinancing |  | 0
Depreciation | 0 | 813 | 1301 | 780 | 468 | 468 | 234 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Amortization | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ReleasedfromReserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TotalAdditions | 0 | 813 | 1301 | 780 | 468 | 468 | 234 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Subtractions
LoanPrincipal | 0 | 81 | 87 | 92 | 99 | 105 | 113 | 120 | 128 | 137 | 147 | 157 | 167 | 179 | 191 | 204 | 217 | 232 | 248 | 265 | 283
TotalSubtractions | 0 | 81 | 87 | 92 | 99 | 105 | 113 | 120 | 128 | 137 | 147 | 157 | 167 | 179 | 191 | 204 | 217 | 232 | 248 | 265 | 283
Before-TaxCashFlow | -813 | 7 | 9 | 11 | 12 | 14 | 16 | 17 | 19 | 20 | 22 | 23 | 25 | 26 | 28 | 29 | 30 | 31 | 33 | 34 | 35
TaxesPayable(BenefitReceived) | 0 | -268 | -446 | -251 | -132 | -129 | -39 | 51 | 55 | 58 | 62 | 67 | 71 | 76 | 81 | 86 | 92 | 98 | 104 | 111 | 118
TaxCredit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
After-TaxCashFlow | -813 | 275 | 455 | 261 | 145 | 143 | 55 | -34 | -36 | -38 | -40 | -43 | -46 | -49 | -53 | -57 | -61 | -66 | -71 | -77 | -83
CumulativeAfter-TaxCashFlow |  | -538 | -83 | 179 | 323 | 466 | 521 | 488 | 452 | 414 | 374 | 331 | 285 | 235 | 182 | 125 | 63 | -3 | -74 | -151 | -233
Jay's Check:
PaybackBoolean |  | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
Loan1 | -3252
BeginningBalance |  | -3252 | -3171 | -3084 | -2992 | -2893 | -2788 | -2675 | -2555 | -2426 | -2289 | -2142 | -1986 | -1819 | -1640 | -1449 | -1246 | -1028 | -796 | -548 | -283
Interest |  | 221 | 216 | 210 | 203 | 197 | 190 | 182 | 174 | 165 | 156 | 146 | 135 | 124 | 112 | 99 | 85 | 70 | 54 | 37 | 19
Principal |  | 81 | 87 | 92 | 99 | 105 | 113 | 120 | 128 | 137 | 147 | 157 | 167 | 179 | 191 | 204 | 217 | 232 | 248 | 265 | 283
LoanTotal |  | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302
81.3
Loan2 | 0
BeginningBalance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LoanTotal |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DebtServiceCoverageRatio(DSCR) |  | 1.02 | 1.03 | 1.04 | 1.04 | 1.05 | 1.05 | 1.06 | 1.06 | 1.07 | 1.07 | 1.08 | 1.08 | 1.09 | 1.09 | 1.1 | 1.1 | 1.1 | 1.11 | 1.11
SEA0 (was LCA+) | 0 | 813 | 1301 | 780 | 468 | 468 | 234 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SEA1 - Field | 0 | 875.7164 | 1365.561 | 846.4057 | 536.2503 | 538.0949 | 305.9395 | 74.7064 | 76.551 | 79.3179 | 81.1625 | 83.9294 | 86.6963 | 88.5409 | 91.3078 | 94.0747 | 96.8416 | 100.5308 | 103.2977 | 106.0646
SEA2 - Office | 0 | 881 | 1371 | 852 | 542 | 544 | 312 | 81 | 83 | 86 | 88 | 91 | 94 | 96 | 99 | 102 | 105 | 109 | 112 | 115
SEA3.0 - Financing, Royalties, Local Taxes, Insurance | 0 | 1114 | 1599 | 1074 | 757 | 753 | 514 | 275 | 270 | 264 | 257 | 250 | 242 | 233 | 224 | 214 | 204 | 193 | 180 | 166
SEA3.1 - Federal Taxes | 0 | 1067 | 1369 | 1033 | 828 | 821 | 665 | 508 | 499 | 487 | 475 | 463 | 448 | 433 | 417 | 399 | 381 | 361 | 338 | 314
SEA3.2 - PTC | 0 | 799 | 923 | 782 | 696 | 692 | 626 | 559 | 554 | 545 | 537 | 530 | 519 | 509 | 498 | 485 | 473 | 459 | 442 | 425
Total After Tax Cash Flow | -813 | 275 | 455 | 261 | 145 | 143 | 55 | -34 | -36 | -38 | -40 | -43 | -46 | -49 | -53 | -57 | -61 | -66 | -71 | -77
Wind electricity generation (kWh) | 5634000 | 5634000 | 5634000 | 5634000 | 5634000 | 5634000 | 5634000 | 5634000 | 5634000 | 5634000 | 5634000 | 5634000 | 5634000 | 5634000 | 5634000 | 5634000 | 5634000 | 5634000 | 5634000 | 5634000
Data for IRR calculations (Carey added)
SEA0 (was LCA+) | 0 | -424 | -908 | -383 | -67 | -63 | 175 | 413 | 417 | 421 | 425 | 429 | 434 | 438 | 442 | 447 | 451 | 456 | 460 | 465
SEA1 | 0 | -486.7164 | -972.561 | -449.4057 | -135.2503 | -133.0949 | 103.0605 | 338.2936 | 340.449 | 341.6821 | 343.8375 | 345.0706 | 347.3037 | 349.4591 | 350.6922 | 352.9253 | 354.1584 | 355.4692 | 356.7023 | 358.9354
SEA2 | 0 | -492 | -978 | -455 | -141 | -139 | 97 | 332 | 334 | 335 | 337 | 338 | 340 | 342 | 343 | 345 | 346 | 347 | 348 | 350
SEA3 | 0 | -725 | -1206 | -677 | -356 | -348 | -105 | 138 | 147 | 157 | 168 | 179 | 192 | 205 | 218 | 233 | 247 | 263 | 280 | 299
SEA4 | 0 | -678 | -976 | -636 | -427 | -416 | -256 | -95 | -82 | -66 | -50 | -34 | -14 | 5 | 25 | 48 | 70 | 95 | 122 | 151
SEA5 | 0 | -410 | -530 | -385 | -295 | -287 | -217 | -146 | -137 | -124 | -112 | -101 | -85 | -71 | -56 | -38 | -22 | -3 | 18 | 40
Total After Tax Cash Flow | -813 | 275 | 455 | 261 | 145 | 143 | 55 | -34 | -36 | -38 | -40 | -43 | -46 | -49 | -53 | -57 | -61 | -66 | -71 | -77

## LCA Vestas Onshore 2.0MW
Onshore, Vestas 2.0 MW LCA Information | INPUTS are this green
OUTPUTS are this blue
Energy Outputs | Units | Values |  | Year | Energy Flow (kWh)
Capcity of Turbine | MW | 2 |  | 0 | -3635621.4355 | -3635621.4355
Electricity per turbine | kWh/yr | 5634000 |  | 1 | 5634000 | 2209700.9465
lifetime | yrs | 20 |  | 2 | 5634000 | 866662.8103
number turbines | num | 1 |  | 3 | 5634000 | 339912.2528
Assumed LCOE | $/MWh |  |  | 4 | 5634000 | 133316.3697
Capacity factor | % | 32.16% |  | 5 | 5634000 | 52287.7721
Material Energy Inputs (per turbine) | Units | Values |  | 6 | 5634000 | 20507.6925
Hard coal | kg | 96700 |  | 7 | 5634000 | 8043.285
Crude oil | kg | 79400 |  | 8 | 5634000 | 3154.6422
Lignite | kg | 51500 |  | 9 | 5634000 | 1237.2765
Natural Gas | kg | 62200 |  | 10 | 5634000 | 485.27
|  |  |  | 11 | 5634000 | 190.3269
Material Energy Inputs (transmission per farm) | Units |  |  | 12 | 5634000 | 74.6478
Hard coal | kg | 0 |  | 13 | 5634000 | 29.2775
Crude oil | kg | 10700 |  | 14 | 5634000 | 11.4829
Lignite | kg | 430 |  | 15 | 5634000 | 4.5037
Natural Gas | kg | 302 |  | 16 | 5634000 | 1.7664
|  |  |  | 17 | 5634000 | 0.69279
Energy Inputs (Total) | Units |  |  | 18 | 5634000 | 0.27172
Hard coal | kg | 96700 |  | 19 | 5634000 | 0.10657
Crude oil | kg | 90100 |  | 20 | 5634000 | 0.041797
Lignite | kg | 51930
Natural Gas | kg | 62502 |  | Sums | 109044378.5645 | 4.0166e-08 | Net present value at calcuated/give IRR, r
|  |  |  | EROI | 30.9933
|  |  |  | IRR | 155% | IRR, r, is defined by that which makes makes NPV = 0
Input data from Vestas 2 MW V80 Document
Energy Consumption per Turbine (MJ/kWh produced) | Units | Total Vestas LCA Values | Fossil or Renewable | Units | Total Vestas LCA Values per Turbine |  |  | Mfg / Dismantling (Vestas LCA, kJ/kWh) | Operation (Vestas LCA, kJ/kWh) | Transport (Vestas LCA, kJ/kWh) | Total (Vestas LCA, kJ/kWh) | Factor to multiply energ INPUT for changing initial EROI from LCA
Hard coal | MJ/kWh | 0.01966 | Fossil | MJ | 2215288.8 |  |  | 18.11 | 1.55 | 0 | 19.66 | 1
Crude oil | MJ/kWh | 0.05357 | Fossil | MJ | 6036267.6 |  |  | 46.56 | 6.45 | 0.56 | 53.57 | 1.55
Lignite (brown coal) | MJ/kWh | 0.00395 | Fossil | MJ | 445086.0026 |  |  | 3.48 | 0.47 | 2.28e-08 | 3.95 | 0.775
Natural Gas | MJ/kWh | 0.01436 | Fossil | MJ | 1618084.8 |  |  | 13.33 | 0.99 | 0.04 | 14.36
Nuclear Power | MJ/kWh | 0.00348 | Fossil | MJ | 392130.5917 |  |  | 3.08 | 0.4 | 3.72e-05 | 3.48
Straw | MJ/kWh | 7e-10 | Renewable | MJ | 0.078876 |  |  | 7e-07 | 0 | 0 | 7e-07
Wood | MJ/kWh | 5.81e-10 | Renewable | MJ | 0.065467 |  |  | 5.81e-07 | 0 | 0 | 5.81e-07
Other Biomass | MJ/kWh | 0.000514 | Renewable | MJ | 57917.5245 |  |  | 0.48 | 0.034 | 4.03e-08 | 0.514
Primary energy from Hydropower | MJ/kWh | 0.02029 | Renewable | MJ | 2286277.2 |  |  | 19.51 | 0.78 | 0 | 20.29
Primary energy from wind | MJ/kWh | 0.00033 | Renewable | MJ | 37184.4 |  |  | 0.33 | -- | -- | 0.33
Renewable Fuels | MJ/kWh | 0 | Renewable | MJ | 0 |  |  | -- | -- | -- | 0
Total MJ/kWh per offshore turbine (from table) |  | 0.11616
Total MJ/kWh (from summation, check) |  | 0.11615
Total MJ consumed per turbine (using Table data) |  | 13088237.0631
Total kWh/kWh produced per turbine (from Table)
Total kWh/kWh produced (from check and 0.2777778 kWh/MJ) |  | 0.032265
Total kWh LCA per turbine |  | 3635621.4355 | Why have a factor of .27 less than the data? - table data are in MJ, & 1 MJ = 0.27777778 kWh
Total kWh produced/turbine in lifetime |  | 112680000
EROI (kWh/kWh) |  | 30.9933
EROI (kWh/kWh), check |  | 30.9933
Total Fossil Input (MJ) |  | 10706857.7943
Total Renewable Input (MJ) |  | 2381379.2689
Output (MJ_equiv) |  | 13088237.0631

## EconomicValueEnergy
Comparison of Energy Flows Based on Market Value of Energy Inputs and Outputs, rather than Heating Values
| 32.16% | Calculated capacity factor (CF) within the Vestas 2 MW turbine LCA Document
The Values Below are From Previous Sheets
Energy Consumption Related to Developing Facility | Units | Total Vestas LCA Values | Fossil or Renewable | Toal Consumption in MJ per Turbine | Total Consumption in Million Btu per Turbine | Total Consumption in kWh per Turbine | Market Price in $/MillionBtu (1) | Market Value of Energy Input per Turbine | Notes
Hard coal | MJ/kWh | 0.01966 | Fossil | 2215288.8 | 2099.7998 | 615358.0492 | 2.47 | 5186.5055
Crude oil | MJ/kWh | 0.05357 | Fossil | 6036267.6 | 5721.5807 | 1676741.1341 | 12.9 | 73808.3906
Lignite (brown coal) | MJ/kWh | 0.00395 | Fossil | 445086.0026 | 421.8825 | 123635.0106 | 2 | 843.7649
Natural Gas | MJ/kWh | 0.01436 | Fossil | 1618084.8 | 1533.7297 | 449468.036 | 6.55 | 10045.9293
Nuclear Power | MJ/kWh | 0.00348 | Fossil | 392130.5917 | 371.6878 | 108925.1731 | 22.84 | 8489.3485 | Is nuclear power really this much higher per Btu??
Straw | MJ/kWh | 7e-10 | Renewable | 0.078876 | 7.4764e-05 | 0.02191 | 1 | 7.4764e-05
Wood | MJ/kWh | 5.81e-10 | Renewable | 0.065467 | 6.2054e-05 | 0.018185 | 1 | 6.2054e-05
Other Biomass | MJ/kWh | 0.000514 | Renewable | 57917.5245 | 54.8981 | 16088.2025 | 1 | 54.8981
Primary energy from Hydropower | MJ/kWh | 0.02029 | Renewable | 2286277.2 | 2167.0874 | 635077.0508 | 22.84 | 49496.2761 | Shouldn't enegy from hydro be = market electricity price?
Primary energy from wind | MJ/kWh | 0.00033 | Renewable | 37184.4 | 35.2459 | 10329.0008 | 1 | 35.2459 | Shouldn't enegy from wind be = market electricity price?
Renewable Fuels | MJ/kWh | 0 | Renewable | 0 | 0 | 0 | 1 | 0
|  |  | Totals: | 13088237.0631 | 12405.9119 | 3635621.6973 |  | 147960.3591 | How does this seem now Jay??? (CWK)
(1) Source of Prices: http://www.eia.doe.gov/emeu/states/hf.jsp?incfile=sep_sum/plain_html/sum_pr_ind.html
Used for hard coal, natural gas, nuclear power (retail electric rate) and hydropower (retail electric rate). | [7 empty] | 73.9802 | $/kW value
Lignite set to $2, given its lower value relative to coal.
Crude oil price = $75 per barrel / 5.8 Million Btu per barrel.
To convert MJ values to Btu: 1 Btu = 1,055 J
Fuel/Resource | Energy Consumed (MJ) | Energy Consumed (kWh equiv.) | Fuel cost ($/GJ)
Hard coal | 2215288.8 | 615358.0492 | 2.3412
Crude oil | 6036267.6 | 1676741.1341 | 12.2275
Lignite (brown coal) | 445086.0026 | 123635.0106 | 1.8957
Natural Gas | 1618084.8 | 449468.036 | 6.2085
Nuclear Power | 392130.5917 | 108925.1731 | 21.6493
Straw | 0.078876 | 0.02191 | 0.94787
Wood | 0.065467 | 0.018185 | 0.94787
Other Biomass | 57917.5245 | 16088.2025 | 0.94787
Primary energy from Hydropower | 2286277.2 | 635077.0508 | 21.6493
Primary energy from wind | 37184.4 | 10329.0008 | 0.94787
|  | TOTAL Cost of fuels ($) = | 147960.3591
Financial Calculations Only Considering the Value of Energy Inputs and Outputs
Year | Electricity Output in kWh | Market Price in $/kWh | Mkt Value of Output | Energy in Development of Project | Ovearall Cash Flow, including Investment Cost
0 | -3635621.4355 | 0 | 0 | 147960.3591 | -147960.3591
1 | 5634000 | 0.0474 | 267051.6 |  | 267051.6
2 | 5634000 | 0.048822 | 275063.148 |  | 275063.148
3 | 5634000 | 0.050287 | 283315.0424 |  | 283315.0424
4 | 5634000 | 0.051795 | 291814.4937 |  | 291814.4937
5 | 5634000 | 0.053349 | 300568.9285 |  | 300568.9285
6 | 5634000 | 0.05495 | 309585.9964 |  | 309585.9964
7 | 5634000 | 0.056598 | 318873.5763 |  | 318873.5763
8 | 5634000 | 0.058296 | 328439.7836 |  | 328439.7836
9 | 5634000 | 0.060045 | 338292.9771 |  | 338292.9771
10 | 5634000 | 0.061846 | 348441.7664 |  | 348441.7664
11 | 5634000 | 0.063702 | 358895.0194 |  | 358895.0194
12 | 5634000 | 0.065613 | 369661.87 |  | 369661.87
13 | 5634000 | 0.067581 | 380751.726 |  | 380751.726
14 | 5634000 | 0.069608 | 392174.2778 |  | 392174.2778
15 | 5634000 | 0.071697 | 403939.5062 |  | 403939.5062
16 | 5634000 | 0.073848 | 416057.6914 |  | 416057.6914
17 | 5634000 | 0.076063 | 428539.4221 |  | 428539.4221
18 | 5634000 | 0.078345 | 441395.6048 |  | 441395.6048
19 | 5634000 | 0.080695 | 454637.4729 |  | 454637.4729
20 | 5634000 | 0.083116 | 468276.5971 |  | 468276.5971
Results
Financial IRR: |  |  |  |  | 183.5%
Net Present Value of future cash flows (after year 1): |  |  |  |  | 3271393.1678
ROI (with no discounting of future rev. and cost): |  |  |  |  | 3610%
ROI (with discounting of future rev. and costs): |  |  |  |  | 2111%

## NREL_OnlineWindFinancing
http://analysis.nrel.gov/windfinance/default.asp | Values | Units | LCA | SEA0 (was LCA+) | SEA1 | SEA2 | SEA3 | SEA4 (optional) | SEA5 (optional) | NOTES
GENERAL ASSUMPTIONS | [10 empty] | LCA+
Expected Inflation Rate | 3 | %/yr | [8 empty] | TEA1
Rated Capacity | 2 | MW | [8 empty] | TEA2
Net Capacity Factor | 32.16% | % | [8 empty] | TEA3
Start Year | 2009 | [9 empty] | TEA4
Project Lifetime | 20 | yrs | [8 empty] | Financing
CAPITAL COSTS (thousand dollars) | [10 empty] | TEA5
Equipment Costs | 3045.712 | 1000s $ | [8 empty] | Tax credits (PTC)
Balance of Station (buildings, roads, interconnect, etc.) | 1019.0878 | 1000s $
Land | 0 | 1000s $ | [7 empty] | I guess make this zero
Developer Soft Costs | 0 | 1000s $ | [7 empty] | I guess make this zero
Construction Loan Interest | 0 | 1000s $ | [7 empty] | I guess make this zero
Other Capital Costs | 0 | 1000s $ | [7 empty] | I guess make this zero
Debt Financing Fees | 0 | 1000s $ | [7 empty] | I guess make this zero
Equity Financing Fees | 0 | 1000s $ | [7 empty] | I guess make this zero
Debt Service Reserve Fund | 0 | 1000s $ | [7 empty] | I guess make this zero
Initial Working Capital | to | 1000s $ | [7 empty] | I guess make this zero
Total Capital Costs | 4064.7999 | 1000s $ | [7 empty] | Should be the sum of the previous 10 items.
OPERATING EXPENSES
Fixed Operation & Maintenance (O&M) | 19.8226 | $/kW | [7 empty] | ISSUE: TEA 2 is really part of this. Use a value of $18.28/kW for step TEA1, and use $19.82/kW when going to step TEA2
Variable O&M | 0 | $/kWh
Site Owner Royalty
(% of revenues) | 3% | % | [7 empty] | From JEDI model, $6,000/turbine is $3/kW
Property Tax
(% of Equipment and Balance of Station Costs) | 0.5405% | %
Insurance
(% of Equipment and Balance of Station Costs) | 0.1638% | %
Other Costs | 0 | 1000s $/yr
Fixed O&M Escalation Rate | 3 %/year
Variable O&M Escalation Rate | 3 %/year
Property Tax Escalation Rate | 0 %/year
Insurance Escalation Rate | 3 %/year
Other Costs Escalation Rate | 3 %/year
FINANCING ASSUMPTIONS
Grant Percentage (% of Total Capital Cost) | 0 | %
Interest Earned on Reserves (%/year) | 2% | %
Amount (financed)
(thousand dollars) | 3251.8399 | 1000s $
Schedule Type | Level Mortgage
Debt Percentage | 80% | %
Interest Rate | 6.8% | % | [7 empty] | I guess this interest rate for the debt can be anything we think is reasonable (6.8% as NREL default seems OK).
Term (years) | 10 | yrs
TAX ASSUMPTIONS
Marginal Federal Tax Rate | 0 | %/yr | [7 empty] | ??
Marginal State Tax Rate | 0 | %/yr
Tax Incentive Type | PTC
Include PTC/REPI in DSCR Calculation | No as default case | Yes/No option
Incentive Amount | 2.1 | cents/kWh
Incentive Length | 10 | yrs
Incentive Inflation Rate | 3 | %/yr | [7 empty] | A PTC of 0.95 to 1.9 cents per kilowatthour [35] is provided for sales of electricity generated from certain renewable resources at qualifying facilities for the first 10 years of their operation. The PTC is adjusted by the IRS each year, based on the annual inflation rate. (http://www.eia.doe.gov/oiaf/aeo/otheranalysis/fft.html)
ECONOMIC ASSUMPTIONS
Power Purchaser Discount Rate (for Levelised Cost of Energy [LCOE] Calculation) | 5.5 | %/yr | [7 empty] | I guess keep these default discount rates
Project Owner Discount Rate (for Net Present Value [NPV] Calculation) | 6 | %/yr | [7 empty] | I guess keep these default discount rates
Energy Payment Escalation Rate | 1 | %/yr | [7 empty] | I guess this is for sale of electricity?
CONSTRAINING ASSUMPTIONS
Average Debt Service Coverage Ratio (DSCR) Constraint | No
Target Average DSCR | 1.34
Minimum DSCR Constraint | No
Target Minimum DSCR | 1.27
Internal Rate of Return (IRR) Constraint | Yes
Target IRR | 10% | % | [7 empty] | I guess we could make this equal to the 10% (for Corporate rate) listed in the NREL paper comparing different methods.
Positive Cash Flow Constraint | No

## FinancialCalcs
Traditional Financial Investment Calculations -- These are Jay's Simplified Formulas -- NREL Calculator is used to the Right | [10 empty] | From On-Line Calculator:
This assumes all-equity financing. | [10 empty] | Year | After-Tax Cash Flow | From Online calculator -- This uses the "financial constraints" in the model rather than market prices to determine revenues. 80% Debt financing and 20% equity is assumed (the default values). |  |  | After-Tax Cash Flow | From Online calculator -- This uses market prices (escalated) to determine revenues, rather than "financial constraints." 80% debt financing and 20% equity financing is assumed (the default values).
Year | Electricity Output in kWh per Turbine | Production Tax Credit | Market Price in $/kWh | Mkt Value of Output | Revenues Including Tax Credit | Project Construction Cost per Turbine | Annual Operations Cost per Turbine | Revenue - Operating Cost | Ovearall Cash Flow, including Investment Cost | Cumulative cash flow |  | ($thousand) |  |  |  | ($thousand)
0 | -3635621.4355 |  |  |  |  | 4064799.8673 |  | 0 | -4064799.8673 | -4064799.8673 | 2008 | -1065 |  |  | 2008 | -1065
1 | 5634000 | 121863.42 | 0.0474 | 267051.6 | 388915.02 |  | 39645.2536 | 227406.3464 | 227406.3464 | -3837393.5209 | 2009 | 160.78 |  |  | 2009 | 84
2 | 5634000 | 125519.3226 | 0.048822 | 275063.148 | 400582.4706 |  | 40438.1586 | 234624.9894 | 234624.9894 | -3602768.5315 | 2010 | 140.35 |  |  | 2010 | 61
3 | 5634000 | 129284.9023 | 0.050287 | 283315.0424 | 412599.9447 |  | 41246.9218 | 242068.1206 | 242068.1206 | -3360700.4109 | 2011 | 150.2 |  |  | 2011 | 69
4 | 5634000 | 133163.4493 | 0.051795 | 291814.4937 | 424977.9431 |  | 42071.8602 | 249742.6335 | 249742.6335 | -3110957.7774 | 2012 | 160.35 |  |  | 2012 | 76
5 | 5634000 | 137158.3528 | 0.053349 | 300568.9285 | 437727.2814 |  | 42913.2974 | 257655.6311 | 257655.6311 | -2853302.1463 | 2013 | 170.8 |  |  | 2013 | 84
6 | 5634000 | 141273.1034 | 0.05495 | 309585.9964 | 450859.0998 |  | 43771.5634 | 265814.433 | 265814.433 | -2587487.7133 | 2014 | 181.57 |  |  | 2014 | 92
7 | 5634000 | 145511.2965 | 0.056598 | 318873.5763 | 464384.8728 |  | 44646.9947 | 274226.5816 | 274226.5816 | -2313261.1317 | 2015 | 192.66 |  |  | 2015 | 101
8 | 5634000 | 149876.6354 | 0.058296 | 328439.7836 | 478316.419 |  | 45539.9346 | 282899.849 | 282899.849 | -2030361.2827 | 2016 | 204.08 |  |  | 2016 | 109
9 | 5634000 | 154372.9345 | 0.060045 | 338292.9771 | 492665.9115 |  | 46450.7332 | 291842.2438 | 291842.2438 | -1738519.0389 | 2017 | 215.84 |  |  | 2017 | 118
10 | 5634000 | 159004.1225 | 0.061846 | 348441.7664 | 507445.8889 |  | 47379.7479 | 301062.0185 | 301062.0185 | -1437457.0204 | 2018 | 227.96 |  |  | 2018 | 128
11 | 5634000 |  | 0.063702 | 358895.0194 | 358895.0194 |  | 48327.3429 | 310567.6765 | 310567.6765 | -1126889.3439 | 2019 | 93.27 |  |  | 2019 | -10
12 | 5634000 |  | 0.065613 | 369661.87 | 369661.87 |  | 49293.8897 | 320367.9802 | 320367.9802 | -806521.3637 | 2020 | 106.13 | 1st Year Energy Payment (cents/kWh) | 5.87 | 2020 | 0 | 1st Year Energy Payment (cents/kWh) | 4.74
13 | 5634000 |  | 0.067581 | 380751.726 | 380751.726 |  | 50279.7675 | 330471.9585 | 330471.9585 | -476049.4052 | 2021 | 119.37 | Energy Payment Escalation Rate (%/year) | 3 | 2021 | 10 | Energy Payment Escalation Rate (%/year) | 3
14 | 5634000 |  | 0.069608 | 392174.2778 | 392174.2778 |  | 51285.3629 | 340888.915 | 340888.915 | -135160.4902 | 2022 | 133.01 |  |  | 2022 | 20
15 | 5634000 |  | 0.071697 | 403939.5062 | 403939.5062 |  | 52311.0701 | 351628.436 | 351628.436 | 216467.9458 | 2023 | 147.06 | Nominal Levelised Cost of Energy (LCOE) (cents/kWh) | 7.92 | 2023 | 31 | Nominal Levelised Cost of Energy (LCOE) (cents/kWh) | 6.39
16 | 5634000 |  | 0.073848 | 416057.6914 | 416057.6914 |  | 53357.2915 | 362700.3998 | 362700.3998 | 579168.3456 | 2024 | 161.53 | Real LCOE (start year cents/kWh) | 5.7 | 2024 | 42 | Real LCOE (start year cents/kWh) | 4.6
17 | 5634000 |  | 0.076063 | 428539.4221 | 428539.4221 |  | 54424.4374 | 374114.9847 | 374114.9847 | 953283.3304 | 2025 | 176.43 | Breakeven LCOE (cents/kWh) | 4.77 | 2025 | 53 | Breakeven LCOE (cents/kWh) | 4.77
18 | 5634000 |  | 0.078345 | 441395.6048 | 441395.6048 |  | 55512.9261 | 385882.6786 | 385882.6786 | 1339166.009 | 2026 | 191.78 | Payback Period (Years) | 7 | 2026 | 65 | Payback Period (Years) | 17
19 | 5634000 |  | 0.080695 | 454637.4729 | 454637.4729 |  | 56623.1846 | 398014.2883 | 398014.2883 | 1737180.2973 | 2027 | 207.59 | Net Present Value (start year dollars) | 1050 | 2027 | 77 | Net Present Value (start year dollars) | -31
20 | 5634000 |  | 0.083116 | 468276.5971 | 468276.5971 |  | 57755.6483 | 410520.9488 | 410520.9488 | 2147701.246 | 2028 | 223.87 |  |  | 2028 | 89
21 | 5634000 |  | 0.08561 | 482324.895 | 482324.895 |  | 58910.7613 | 423414.1337 | 423414.1337 | 2571115.3797 | 2029 | 240.65 | Target Internal Rate of Return (IRR) (%) | 15.22 | 2029 | 102 | Target Internal Rate of Return (IRR) (%) | none
22 | 5634000 |  | 0.088178 | 496794.6418 | 496794.6418 |  | 60088.9765 | 436705.6653 | 436705.6653 | 3007821.0451 | 2030 | 257.92 | Actual IRR (%) | 15.99 | 2030 | 115 | Actual IRR (%) | 7.75
23 | 5634000 |  | 0.090823 | 511698.4811 | 511698.4811 |  | 61290.756 | 450407.7251 | 450407.7251 | 3458228.7701 | 2031 | 275.72 | Target Minimum Debt Service Coverage Ratio (DSCR) | 1.27 | 2031 | 128 | Target Minimum Debt Service Coverage Ratio (DSCR) | none
24 | 5634000 |  | 0.093548 | 527049.4355 | 527049.4355 |  | 62516.5712 | 464532.8644 | 464532.8644 | 3922761.6345 | 2032 | 294.05 | Actual Minimum DSCR | 1.27 | 2032 | 142 | Actual Minimum DSCR | 0.97
25 | 5634000 |  | 0.096354 | 542860.9186 | 542860.9186 |  | 63766.9026 | 479094.016 | 479094.016 | 4401855.6505 | 2033 | 312.93 | Minimum DSCR Year | 11 | 2033 | 157 | Minimum DSCR Year | 11
26 | 5634000 |  | 0.099245 | 559146.7462 | 559146.7462 |  | 65042.2406 | 494104.5055 | 494104.5055 | 4895960.156 | 2034 | 332.37 | Target Average DSCR | 1.34 | 2034 | 171 | Target Average DSCR | none
27 | 5634000 |  | 0.10222 | 575921.1485 | 575921.1485 |  | 66343.0855 | 509578.0631 | 509578.0631 | 5405538.2191 | 2035 | 352.4 | Actual Average DSCR | 1.6 | 2035 | 186 | Actual Average DSCR | 1.26
28 | 5634000 |  | 0.10529 | 593198.783 | 593198.783 |  | 67669.9472 | 525528.8358 | 525528.8358 | 5931067.055 | 2036 | 373.03 |  |  | 2036 | 202
29 | 5634000 |  | 0.10845 | 610994.7465 | 610994.7465 |  | 69023.3461 | 541971.4004 | 541971.4004 | 6473038.4553 | 2037 | 1188.52 | Annual Energy Production (MWh/year) | 7008 | 2037 | 1013 | Annual Energy Production (MWh/year) | 7008
30 | 5634000 |  | 0.1117 | 629324.5889 | 629324.5889 |  | 70403.813 | 558920.7759 | 558920.7759 | 7031959.2312 | 2038 | 751.4 |  |  | 2038 | 570
Assumptions
Production Tax Credit (per kWh) for 1st 10 years: | [6 empty] | 0.021
Assumes Producer can use all of the tax credit.
Avg Wholesale Market Price for Balancing Energy in ERCOT Jan-Oct 2009: | [6 empty] | 0.0294
Avg Wholesale Market Price for Balancing Energy in ERCOT 2008: | [6 empty] | 0.0654
Avg Wholesale Mkt Price in 2008-09 | [6 empty] | 0.0474
Electricity Mkt Price Escalator: | [6 empty] | 3%
Future Inflation: | [6 empty] | 2%
Discount Rate: | [6 empty] | 8%
Results
Financial IRR: | [6 empty] | 3.974%
Net Present Value of future cash flows (after year 1): | [6 empty] | 2612307.6349
ROI (with no discounting of future rev. and cost): | [6 empty] | 19.51%
ROI (with discounting of future rev. and costs): | [6 empty] | -35.73%

## JEDI Project data_TX_CK
Wind Farm Project Data
INSTRUCTIONS: Begin by entering Project Location (from pull-down list) and other Descriptive Data.
After inserting required data press enter (or cursor to the next cell) to continue.
Once Descriptive Data is complete, choose "Y" or "N" on Line 24 to continue.
Choose "Y" to accept Project Cost and Local Share defaults or "N" to review/modify values.
To utilize new values in analysis you must choose an "N" in "Utilize Model Default Values (below)?" - Line 24
Additional information is available by pointing to the red triangles located in cell corners and in the FAQ tab.
Only those cells with a white background can be changed (accept new values).
Project Descriptive Data
Project Location | TEXAS
Population (only required for County/Region analysis)
Year of Construction | 2009
Total Project Size - Nameplate Capacity (MW) | 100
Number of Projects (included in Total Project Size) | 1
Turbine Size (KW) | 2000
Number of Turbines | 50
Installed Project Cost ($/KW) | 2032.0136 |  | Please review O&M Materials & Services parameters;
Operations and Maintenance Cost ($/kW) | 19.8226 |  | costs may be below industry standards.**
Money Value - Current or Constant (Dollar Year) | 2008
Utilize Project Cost Data default values in analysis? Choose "Y" to accept default values below or "N" to over-ride default values and utilize new user defined values as entered below. See FAQ for related topics. | N |  | Modify Project Cost Data (change data below)
If desired, default values (in cells below - based on Project Descriptive Data entered above) may be restored by pressing the 'Restore Default Values' button. Note: it is not necessary to restore defaults to incorporate default Project Cost Data in system analysis - simply choose "Y" in cell B24 above.
Project Cost Data
|  | Cost | Percent of |  |  |  | Cost
Construction Costs | Cost | Per KW | Total Cost | Local Share |  |  | Per Turbine
Equipment Costs
Turbines (excluding blades and towers) | 91066790.1094 | 910.6679 | 44.81% | 0% |  |  | 1821335.8022
Blades | 21319984.3065 | 213.1998 | 10.49% | 0% |  |  | 426399.6861
Towers | 23604268.3394 | 236.0427 | 11.61% | 0% |  |  | 472085.3668
Transportation | 16294559.4343 | 162.9456 | 8.017% | 0% |  |  | 325891.1887
Equipment Total | 152285602.1896 | 1522.856 | 74.93% |  | 152285602.1896 |  | 3045712.0438
Balance of Plant
Materials
Construction (concrete, rebar, equip, roads and site prep) | 22005269.8118 | 220.0527 | 10.83% | 90% |  |  | 440105.3962
Transformer | 2489252.2217 | 24.8925 | 1.225% | 0% |  |  | 49785.0444
Electrical (drop cable, wire, ) | 2623840.0433 | 26.2384 | 1.291% | 100% |  |  | 52476.8009
HV line extension | 4792880.4023 | 47.9288 | 2.358% | 70% |  |  | 95857.608
Materials Subtotal | 31911242.4791 | 319.1124 | 15.7% |  |  |  | 638224.8496
Labor
Foundation | 1215941.7097 | 12.1594 | 0.5983% | 95% |  |  | 24318.8342
Erection | 1377226.5544 | 13.7723 | 0.6776% | 75% |  |  | 27544.5311
Electrical | 2007033.9171 | 20.0703 | 0.9875% | 70% |  |  | 40140.6783
Management/Supervision | 1041453.6117 | 10.4145 | 0.5124% | 0% |  |  | 20829.0722
Misc. | 7721651.5254 | 77.2165 | 3.799% | 50% |  |  | 154433.0305
Labor Subtotal | 13363307.3183 | 133.6331 | 6.575% |  |  |  | 267266.1464
Development/Other Costs
HV Sub/Interconnection
Materials | 1512338.0535 | 15.1234 | 0.7441% | 90% |  |  | 30246.7611
Labor | 463258.9479 | 4.6326 | 0.2279% | 10% |  |  | 9265.179
Engineering | 2057913.5431 | 20.5791 | 1.013% | 0% |  |  | 41158.2709
Legal Services | 1121562.881 | 11.2156 | 0.5518% | 100% |  |  | 22431.2576
Land Easements | 0 | 0 | 0% | 100% |  |  | 0
Site Certificate/Permitting | 524767.9535 | 5.2477 | 0.2582% | 100% |  |  | 10495.3591
Development/Other Subtotal | 5679841.379 | 56.7984 | 2.795% |  |  |  | 113596.8276
Balance of Plant Total | 50954391.1764 | 509.5439 | 25.07% |  | 50954391.1764 |  | 1019087.8235
Total | 203239993.3659 | 2032.3999 | 100% |  |  |  | 4064799.8673
Wind Farm Annual Operating and Maintenance Costs
Please review O&M Materials & Services parameters; |  | Cost | Percent of |  |  |  | Cost
costs may be below industry standards.** | Cost | Per KW | Total Cost | Local Share |  |  | Per Turbine
Labor
Personnel
Field Salaries | 274850.6311 | 2.7485 | 13.87% | 100% |  |  | 5497.0126
Administrative | 43976.101 | 0.43976 | 2.218% | 100% |  |  | 879.522
Management | 109940.2524 | 1.0994 | 5.546% | 100% | 153916.3534 |  | 2198.805
Labor/Personnel Subtotal | 428766.9845 | 4.2877 | 21.63% |  |  |  | 8575.3397
Materials and Services
Vehicles | 44379.2513 | 0.44379 | 2.239% | 100% |  |  | 887.585
Site Maint/Misc. Services | 17307.908 | 0.17308 | 0.8731% | 80% | 1177381.5383 | field oper | 346.1582
Fees, Permits, Licenses | 8653.954 | 0.08654 | 0.4366% | 100% | 274850.6311 | field empl | 173.0791
Utilities | 34615.8161 | 0.34616 | 1.746% | 100% |  |  | 692.3163
Insurance | 332844.3851 | 3.3284 | 16.79% | 0% | 376114.1552 |  | 6656.8877
Fuel (motor vehicle gasoline) | 17307.908 | 0.17308 | 0.8731% | 100% |  |  | 346.1582
Consumables/Tools and Misc. Supplies | 112501.4022 | 1.125 | 5.675% | 100% | 153916.3534 | biz empl | 2250.028
Replacement Parts/Equipment/ Spare Parts Inventory | 985885.0687 | 9.8589 | 49.74% | 2% | 34615.8161 | biz costs subtot | 19717.7014
Materials and Services Subtotal | 1553495.6935 | 15.535 | 78.37% |  |  |  | 31069.9139
Total O&M Cost | 1982262.678 | 19.8226 | 100% |  |  |  | 39645.2536
Other Parameters |  |  |  |  | 1548600 | other
Financial Parameters |  |  |  | Local Share
Debt Financing
Percentage financed | 80% |  |  | 0% | 206429357.7048 | check
Years financed (term) | 10
Interest rate | 10%
Equity Financing/Repayment
Percentage equity | 20%
Individual Investors (percent of total equity) | 0% |  |  | 100%
Corporate Investors (percent of total equity) | 100% |  |  | 0%
Return on equity (annual interest rate) | 16%
Repayment term (years) | 10
Tax Parameters
Local Property/Other Tax Rate (percent of taxable value) | na
Assessed value (percent of construction cost) | na
Taxable Value (percent of assessed value) | na
Taxable Value | na
Taxes Per MW | 10986
Local Taxes | 1098600 |  |  | 100%
Land Lease Parameters
Land Lease Cost (per turbine) | 9000
Number of Turbines | 50
Land Lease (total cost) | 450000
Lease Payment recipient (F = farmer/household, O = Other) | F |  |  | 100%
Payroll Parameters
Construction Labor | Wage per hour |  | Employer Payroll Overhead
Foundation | 17.5922 |  | 37.61%
Erection | 19.9257 |  | 37.61%
Electrical | 26.398 |  | 37.61%
Management/Supervision | 35.8855 |  | 37.61%
O&M Labor | Wage per hour |  | Employer Payroll Overhead
Field Salaries (technicians, other) | 24.0069 |  | 37.61%
Administrative | 15.3644 |  | 37.61%
Management/Supervision | 38.411 |  | 37.61%
Note on A13: Project location is state name (or other user add-in location - MyCounty or MyRegion) where wind plant is constructed. (Entry required -choose from pull-down list)
Note on A14: If running a county or regional analysis: area population is required to incorporate appropriate default values for local shares.
Note on A15: Year of construction is year in which construction occurs - not to exceed 2030. (Entry required)
Note on A16: Project size is number of megawatts (MW) - 1 MW = 1 thousand kilowatts (KW). (Entry required) Due to economies of scale for larger projects, it is recommended Users analyze projects individually rather than grouping them together as one project.
Note on A19: The number of Turbines is automatically calculated by dividing the project size (MW * 1000) by the turbine size (KW).
Note on A20: Default installed cost is based on national average costs (i.e., construction cost) adjusted for geographic differences in construction labor costs. This value is automatically entered unless changed by user. Installed cost does not include land easement or interest payments during construction period.
Note on A21: Default Annual Operations and Maintenance Cost is based on national average costs for the respective size wind farm. The cost is automatically entered unless revised by user. The cost includes all operating and maintenance costs except costs associated with debt or equity financing, land easement, or taxes (these values are included elsewhere).
Note on A22: Money value refers to the time value of money - accounting for inflationary influences over time. "Current" implies dollar values are the same year as construction (e.g., enter 2004 for construction in 2004). "Constant" implies dollar values are for a year other than the year construction occurs (e.g., enter 1999 for construction in 2004 with cost estimates in 1999 dollar values).
Note on A24: Choose "Y" to run analysis using System Description Data (entered above) and default System Cost Data (automatically entered below). Choose "N" to run analysis using System Descriptive Data (entered above) with user modified System Cost Data (entered below) . User defined cost data will not be incorporated in the analysis if an "N" is not chosen here. (Entry Required)
Note on E31: Local Share is the percentage of expenditure spent in the state or local region where the plant is constructed.
Note on A45: Labor Costs include hourly wages plus employer paid costs such as health benefits, workers compensation, disability insurance, and social security, among others. **If revising labor costs, please note: Labor costs (entered in these cells) are associated with per hour construction wage rates (entered below). Therefore, user changes to labor costs must be accompanied by changes in hourly wage rates and overhead costs or changes will adversely impact (increase or decrease) the total number of construction workers reported (calculated) in the results. See FAQ for related information.
Note on A48: Electrical labor refers to all electrical work (on turbine connections and wiring, underground wiring, and all other electrical related equipment) except that related to HV substation/interconnection, accounted for separately.
Note on A50: Miscellaneous labor costs include additional worker allowances for housing, food and other living expenses, and other labor related costs.
Note on A54: HV Substation/Interconnect materials includes all associated materials and equipment (except transformer - accounted for in materials elsewhere).
Note on A55: HV Substation/Interconnect labor includes all associated electrical labor as well as engineering and design costs.
Note on A58: Land easement refers to payments made to land owner to secure the site before and/or during the construction period. Due to the large variation in land easement arrangements, this calculation does not include costs for land easement.
Note on D65: For purposes of calculating the O&M percentages for each expenditure, the Total Cost does not include costs for land easement. These costs (noted below) are however included in the impact analysis.
Note on E66: Local Share is the percentage of expenditure spent in the state or local region where the plant is constructed.
Note on A68: Personnel Costs include hourly wages plus employer paid costs such as health benefits, workers compensation, disability insurance, and social security, among others. **If revising labor costs, please note: Labor costs (entered in these cells) are associated with per hour O&M wage rates and employer payroll overhead (entered below). Therefore, user changes to labor costs must be accompanied by changes in hourly wage rates and employer payroll overhead costs or changes will adversely impact (increase or decrease) the total number of construction workers reported (calculated) in the results. See FAQ for related information.
Note on A83: Annual Operations and Maintenance Cost does not include costs associated with debt or equity payments, land easement, or taxes.
Note on E86: Local Share is the percentage of expenditure spent in the state or local region where the plant is constructed.
Note on A88: Percentage financed is the share of project construction cost financed through a loan.
Note on A89: Years financed is the number of years required to payback the amount borrowed (initial loan amount).
Note on A90: Interest rate refers to the annual rate charged by the lender. (Example: 10 = 10%)
Note on A92: This percentage is the share of project construction cost (after accounting for the share from debt financing) secured through investment by individuals and/or corporate investors.
Note on A93: Individual Investors refers to households that provide resources (invest) towards equity in the project, rather than direct loans for debt financing.
Note on A94: Corporate Investors refers to businesses that provide equity investment. This calculation is automatically derived from the percentage entered in Individual (above) - the sum of the two equals 100 percent.
Note on A102: If Taxes Per MW are entered by user, Local Property/Other Tax Rate (cell B98) must be set to "na" (without quotes) to incorporate the user set Taxes Per MW value in the calculation.
Note on A103: Automatically calculated from per MW tax rate (if available), from tax parameters entered above, or local tax value entered by user.
Note on B107: Entry required if cost is calculated using a method other than the lease cost per turbine (above) times the number of turbines (above).
Note on B110: Wage per hour is the average base wage only; it does not include employer payroll overhead, which are based on the percentages of wages noted. **If revising wages per hour, please note: wage rates (entered in these cells) are associated with consruction labor personnel costs (entered above) and employer payroll overhead (entered to the right). Therefore, user changes to wage rates must be accompanied by changes in labor costs (and potentially employer payroll overhead costs) or changes will adversely impact (increase or decrease) the total number of construction workers reported (calculated) in the results. See FAQ for related information.
Note on D110: Employer payroll overhead refers to the additional percentage of wages employers spend to pay for employee health benefits, workers compensation, disability insurance, and social security, among others. **If revising employer payroll overhead, please note: overhead rates (entered in these cells) are associated with consruction labor personnel costs (entered above) and wages per hour (entered to the left). Therefore, user changes to overhead rates must be accompanied by changes in labor costs and wages per hour or changes will adversely impact (increase or decrease) the total number of construction workers reported (calculated) in the results. See FAQ for related information.
Note on B115: Wage per hour is the average base wage only; does not include employer payroll costs, which are automatically included in the impact analysis. **If revising Wage rates, please note: Wage rates (entered in these cells) are associated with O&M labor personnel costs (entered above). Therefore, user changes to O&M laobr personnel costs and/or hourly labor rates and employer payroll costs will impact (increase or decrease) the total number of O&M employees reported (calculated) in the results.
Note on D115: Employer payroll overhead refers to the additional percentage of wages employers spend to pay for employee health benefits, workers compensation, disability insurance, and social security, among others. **If revising employer payroll overhead, please note: overhead rates (entered in these cells) are associated with O&M labor personnel costs (entered above) and wages per hour (entered to the left). Therefore, user changes to overhead rates must be accompanied by changes in labor costs and wages per hour or changes will adversely impact (increase or decrease) the total number of construction workers reported (calculated) in the results. See FAQ for related information.
Note on A119: **If revising Wage rates, please note: Wage rates (entered in these cells) are associated with O&M personnel costs (entered above). Therefore, user changes to O&M personnel costs and/or hourly labor rates and employer payroll costs will impact (increase or decrease) the total number of O&M employees reported (calculated) in the results.